## Coefficients
Standard Coefficients
COEFFICIENT TABLE
|  |  |  | E 1% | Estimated |  |  |  | Limit of | Limit of
Calibration Date = | 2024-02-21 |  | Pigment | λmax | Coefficient | Y intercept | λmax | Solvent | Quantification (ng) | Detection (ng) | Notes
Standard ID = | DHI Standards
|  |  | β,β Carotene | 2500 | 0.00023536 | 0 | 454 | acetone
|  |  | β,ε Carotene | 2700 | 0.00021792 | 0 | 448 | acetone
|  |  | β,ψ Carotene | 3185 | 0.00018474 | 0 | 459 | pet ether
E1% (1cm) = the extinction coefficient of a 1% solution in a 1 cm cuvette |  |  | ε,ε Carotene | 2900 | 0.0002029 | 0 | 440 | pet ether
|  |  | 19' but-Fuco | 1470 | 0.00013205 | 0 | 445 | acetone | 0.53769 | 0.16131
[pigment] (mg/L) = abs/(E1% * 0.0001) |  |  | 19' hex-Fuco | 1420 | 0.00014815 | 0 | 445 | acetone | 0.41342 | 0.12403
|  |  | Alloxanthin | 2500 | 7.7922e-05 | 0 | 454 | acetone | 0.39328 | 0.11798
E1% values obtained from Mantoura & Llewellyn 1983 |  |  | Antheraxanthin | 2350 | 0.00011915 | 0 | 446 | ethanol
| and Jeffrey et al. 1997 |  | Aphanizophyll |  | 0.00016859 | 0
|  |  | Astaxanthin | 2100 | 0.00010888 | 0 | 468 | hexane
|  |  | Bacteriochlorophyll a | 594 | 0.0094392 | 0 | 771 | acetone/methanol |  |  | Oelze 1985
Red coefficients were determined from standards |  |  | Canthaxanthin | 2200 | 0.00010393 | 0 | 466 | pet ether
All others were estimated using LC 10AD coefficients |  | 21 Feb 24 | Chlorophyll a | 876.7 | 0.00036505 | 0 | 664.3 | 90%acetone | 1.3472 | 0.40415
|  | Dec 21 | Chlorophyll b | 513.6 | 0.00045591 | 0 | 646.8 | 90%acetone | 1.7054 | 0.51161
|  |  | Chlorophyll c1c2 | 426 | 7.4207e-05 | 0 | 630.7 | 90%acetone | Estimated | Estimated | Estimated
|  |  | Chlorophyll c3 | 3460 | 0.00014362 | 0 | 452.9 | 90%acetone | 0.48771 | 0.14631
|  |  | Chlorophyllide a | 1270 | 0.00018166 | 0 | 664 | 90%acetone
|  |  | Chlorophyllide b | 740.7 | 0.000296 | 0 | 645 | 90%acetone
|  |  | Crocoxanthin | 2500 | 8.1206e-05 | 0 | 443 | ethanol
|  |  | Diadinochrome | 2500 | 7.6501e-05 | 0 | 428 | acetone
|  |  | Diadinoxanthin | 2250 | 9.1104e-05 | 0 | 444.5 | methanol | 0.37673 | 0.11302
|  |  | Diatoxanthin | 2100 | 0.00012482 | 0 | 452 | acetone | 0.47555 | 0.14266
|  |  | Dinoxanthin | 2100 | 9.6674e-05 | 0 | 442 | acetone
|  |  | Divinyl Chlorophyll a | 876.7 | 0.00040626 | 0 | 664.3 | 90%acetone | 0.94742 | 0.28423 | Assume equal to Chla
|  |  | Divinyl Chlorophyll b | 513.6 | 0.00042689 | 0 | 646.8 | 90%acetone |  |  | Assume equal to Chlb
|  |  | Echinenone | 2158 | 0.00024321 | 0 | 458 | pet ether
|  | Dec 21 | Fucoxanthin | 1660 | 0.00012096 | 0 | 443 | acetone | 0.56342 | 0.16903
|  |  | Gyroxanthin-diester | 2620 | 0.00017865 | 0 | 445 | ethanol | 0.37706 | 0.11312
|  |  | Lutein | 2550 | 0.00016679 | 0 | 445 | ethanol | 0.36284 | 0.10885
|  |  | Lycopene | 3446 | 0.00056603 | 0 | 474 | acetone
|  |  | Mg DVP | 589 | 0.00037224 | 0 | 623 | methanol
|  |  | Monadoxanthin | 2500 | 9.7068e-05 | 0 | 446 | diethyl ether
|  |  | Myxoxanthophyll | 2160 | 0.00017631 | 0 | 478 | acetone | 1.0391 | 0.31172 | Hirschberg & Chamovitz 1994
|  |  | Neoxanthin | 2270 | 0.00015528 | 0 | 438 | ethanol | 0.31586 | 0.094758
|  |  | P-457 | 1640 | 0.0011893 | 0 | 457 | acetone
|  | Dec 21 | Peridinin | 1340 | 0.00017348 | 0 | 466 | acetone | 0.53469 | 0.16041
|  |  | Pheophorbide a | 742 | 0.00045341 | 0 | 667 | 90%acetone
|  |  | Pheophorbide b | 463.7 | 0.00047283 | 0 | 657 | 90%acetone
|  |  | Pheophytin a | 512 | 0.00065709 | 0 | 667 | 90%acetone
|  |  | Pheophytin b | 318 | 0.00068946 | 0 | 657 | 90%acetone
|  |  | Prasinoxanthin | 2500 | 0.00021476 | 0 | 446 | diethyl ether
|  |  | Pyropheophytin a | 602.9 | 0.00055802 | 0 | 667 | diethyl ether
|  |  | Siphonaxanthin | 2500 | 7.6501e-05 | 0 | 445 | acetone
|  |  | Siphonein | 1920 | 0.0010159 | 0 | 462 | ethanol
|  |  | Vaucheriaxanthin | 2500 | 9.7068e-05 | 0 | 444 | acetone
|  |  | Violaxanthin | 2400 | 0.00012073 | 0 | 442 | acetone | 0.43702 | 0.1311
|  | Dec 21 | Zeaxanthin | 2340 | 8.5608e-05 | 0 | 452 | acetone | 0.47691 | 0.14307

## Internal Standard
Internal Standard Calculation Sheet
| HPLC | Acetone | Carotenal | Total Extract | Volume of
| Injection | Volume | Volume | Volume | IP
| Volume | Added | Added | added to Vial | added to Vial
| (µL) | (µL) | (µL) | (µL) | (µL)
| 250 | 1000 | 50 | 400 | 125
Estimated Peak Area for Carotenal Standard Added |  |  |  | 479673.4694
Note on D5: J Pinckney: Volume of 90% acetone used for the extraction…amount added to the tube and filter

## Peak Areas
Sample ID:
PEAK AREAS
[5 empty] | Sample | HPLC | Acetone + Carotenal | Extract | Ammonium
[5 empty] | Filtered | Injection | Added | Volume | Acetate
|  |  |  | Special | Volume | Volume | Volume | in Vial | Ratio
Number | Date | Station | Other | Notes | (Liters) | (µL) | (ml) | (µL) |  | Chl-ide a | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Carotenal | Chl b | Chla Allomer | Chl a | Chla prime | βε Carotene | ββ Carotene | Myxo | Croco | Echin | Astax | Myxo II
Blank Line
First Line of Data |  | T0 |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 64738 | 25658 | 0 | 144595 | 0 | 16055 | 0 | 10213 | 109100 | 13705 | 80787 | 4798 | 44997 | 137067 | 0 | 504239 | 18255 | 0 | 399543 | 16747 | 0 | 145664 | 141925 | 0 | 0
|  | T0 |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 4212 | 0 | 64134 | 21939 | 0 | 147390 | 0 | 12535 | 0 | 3982 | 100444 | 35922 | 94994 | 5799 | 48496 | 137932 | 5851 | 481636 | 15618 | 4853 | 396241 | 15250 | 9924 | 140902 | 137783 | 4347 | 0
|  | T0 |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 3237 | 0 | 61566 | 17907 | 0 | 120341 | 0 | 21541 | 0 | 18771 | 141655 | 56664 | 120659 | 12592 | 56027 | 169926 | 7047 | 115907 | 23689 | 4037 | 473371 | 22681 | 13528 | 175376 | 133173 | 5819 | 26438
|  | T0 |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 2990 | 0 | 66639 | 25813 | 0 | 159327 | 0 | 21767 | 0 | 13873 | 129892 | 55949 | 112354 | 10814 | 52469 | 153289 | 7443 | 60099 | 15941 | 6013 | 431960 | 17859 | 13386 | 157716 | 169371 | 5354 | 21981
|  | T0 |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 5034 | 0 | 73079 | 30059 | 0 | 162045 | 0 | 21948 | 0 | 4816 | 129177 | 46158 | 108877 | 9911 | 51405 | 150136 | 7301 | 58632 | 17129 | 5246 | 438651 | 18123 | 11467 | 162035 | 162113 | 4495 | 22197
|  | Control |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 15813 | 0 | 125317 | 19278 | 0 | 374493 | 0 | 74666 | 0 | 4007 | 225200 | 67319 | 268397 | 23495 | 250344 | 334952 | 15715 | 112672 | 83010 | 14735 | 1014216 | 32104 | 38005 | 332913 | 0 | 9830 | 36252
|  | Control |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 20242 | 0 | 133832 | 23231 | 0 | 401226 | 0 | 102859 | 0 | 6252 | 241294 | 64848 | 251651 | 24159 | 339973 | 365752 | 14956 | 71829 | 111098 | 14280 | 1166429 | 34058 | 40635 | 381077 | 0 | 8669 | 37291
|  | Control |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 23196 | 0 | 147617 | 22469 | 0 | 424149 | 0 | 94820 | 0 | 5450 | 285661 | 80838 | 349351 | 32200 | 329184 | 380367 | 14853 | 75818 | 92735 | 12282 | 1184326 | 34858 | 65284 | 386442 | 0 | 9739 | 38689
|  | Control |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 15239 | 0 | 135052 | 21109 | 0 | 404080 | 0 | 90241 | 0 | 5578 | 262349 | 78413 | 311534 | 29569 | 325457 | 347587 | 16893 | 63803 | 97841 | 11825 | 1127870 | 35162 | 44224 | 363563 | 0 | 10197 | 37448
|  | Control |  | PFOS | 0.15 | 250 | 1.05 | 400 | 1.25 | 21757 | 0 | 154592 | 15472 | 0 | 453153 | 0 | 108020 | 0 | 3913 | 237105 | 72808 | 328353 | 25176 | 378104 | 323159 | 14601 | 66351 | 125575 | 14486 | 1278175 | 36793 | 69553 | 401333 | 0 | 11325 | 36901
|  | Methanol |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 5596 | 0 | 53194 | 7729 | 0 | 187110 | 0 | 36168 | 0 | 1188 | 91852 | 35758 | 80376 | 6430 | 111638 | 113134 | 8553 | 93024 | 34332 | 5732 | 431840 | 14438 | 12527 | 127412 | 0 | 2122 | 13808
|  | Methanol |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2021 | 0 | 31391 | 4568 | 0 | 137262 | 0 | 22108 | 0 | 705 | 58738 | 24699 | 37996 | 2804 | 67807 | 75295 | 5330 | 62134 | 19381 | 0 | 269035 | 9727 | 5676 | 83189 | 0 | 1389 | 8614
|  | Methanol |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 23358 | 0 | 0 | 7521 | 0 | 0 | 15488 | 139728 | 863 | 521564 | 0 | 0 | 0 | 0 | 683343 | 145740 | 48378 | 219838 | 168245 | 0 | 731541 | 177837 | 330051 | 6735 | 0 | 71862 | 184988
|  | Methanol |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2191 | 0 | 28879 | 3224 | 0 | 128556 | 0 | 21302 | 0 | 800 | 57602 | 25847 | 44318 | 3774 | 71001 | 87703 | 4241 | 61437 | 19064 | 0 | 265451 | 10528 | 6170 | 88261 | 0 | 1656 | 10843
|  | Methanol |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 26931 | 3781 | 0 | 121590 | 0 | 19475 | 0 | 901 | 56746 | 25730 | 44564 | 3529 | 58042 | 81284 | 2112 | 55613 | 15832 | 0 | 239141 | 9311 | 5278 | 78689 | 0 | 1788 | 9174
|  | 10 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2195 | 0 | 34822 | 5332 | 0 | 145518 | 0 | 23319 | 0 | 861 | 68811 | 25465 | 46552 | 3449 | 62515 | 83439 | 5871 | 56453 | 18900 | 0 | 284510 | 11131 | 5652 | 85922 | 0 | 1584 | 8887
|  | 10 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1624 | 0 | 29740 | 3135 | 0 | 137297 | 0 | 19409 | 0 | 617 | 53187 | 20075 | 45681 | 3773 | 56437 | 82482 | 4111 | 58555 | 17091 | 4015 | 262252 | 11235 | 4897 | 81776 | 0 | 1414 | 9437
|  | 10 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2184 | 0 | 27405 | 5436 | 0 | 119888 | 0 | 18613 | 0 | 462 | 51498 | 23346 | 38836 | 4035 | 58783 | 76508 | 5086 | 69383 | 17283 | 0 | 243175 | 11327 | 4758 | 82194 | 0 | 2170 | 9545
|  | 10 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2306 | 0 | 28818 | 3051 | 0 | 126849 | 0 | 23965 | 0 | 0 | 56996 | 21278 | 57698 | 4088 | 68294 | 80079 | 5426 | 65332 | 20480 | 4405 | 266475 | 10306 | 6694 | 85393 | 0 | 2532 | 8267
|  | 10 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2025 | 0 | 30321 | 4089 | 0 | 135038 | 0 | 19986 | 0 | 1003 | 61802 | 26959 | 49072 | 4654 | 57778 | 91592 | 3933 | 64998 | 17587 | 0 | 266659 | 12622 | 5009 | 86025 | 0 | 1471 | 10173
|  | 25 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2067 | 0 | 27473 | 3852 | 0 | 106867 | 0 | 11670 | 0 | 2318 | 52695 | 7242 | 53788 | 6097 | 57141 | 82489 | 10545 | 60406 | 16735 | 0 | 241192 | 11089 | 5214 | 74293 | 0 | 2490 | 9203
|  | 25 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1625 | 0 | 14774 | 2607 | 0 | 113033 | 0 | 13559 | 0 | 1103 | 61859 | 24322 | 57248 | 4581 | 63175 | 81087 | 4757 | 69451 | 17354 | 0 | 244266 | 10779 | 5372 | 74325 | 0 | 1400 | 8418
|  | 25 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2281 | 0 | 34154 | 5356 | 0 | 143279 | 3947 | 19995 | 0 | 1481 | 74805 | 0 | 54887 | 3738 | 68896 | 95370 | 2473 | 135399 | 18576 | 0 | 285132 | 13007 | 4743 | 87742 | 0 | 1420 | 11040
|  | 25 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1758 | 0 | 33904 | 4760 | 0 | 145859 | 0 | 25511 | 0 | 1269 | 77882 | 27786 | 61177 | 3919 | 78263 | 93687 | 4222 | 84973 | 21705 | 0 | 301816 | 13040 | 7257 | 93950 | 0 | 2054 | 9871
|  | 25 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1860 | 0 | 31905 | 5591 | 0 | 139263 | 0 | 23784 | 0 | 884 | 64148 | 25555 | 56912 | 3889 | 68687 | 90883 | 4919 | 122827 | 20387 | 0 | 289185 | 14427 | 5698 | 93138 | 0 | 2754 | 10279
|  | 50 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1901 | 0 | 29393 | 5242 | 0 | 129736 | 0 | 24490 | 0 | 771 | 62810 | 21606 | 61034 | 3969 | 76388 | 100383 | 4495 | 76889 | 21893 | 0 | 288663 | 13616 | 7389 | 91455 | 0 | 1804 | 8819
|  | 50 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1786 | 0 | 30740 | 7291 | 0 | 129723 | 0 | 22863 | 0 | 974 | 64670 | 20914 | 47862 | 4044 | 69304 | 97332 | 2763 | 66830 | 19441 | 0 | 274159 | 12684 | 5342 | 88765 | 0 | 1679 | 10045
|  | 50 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1543 | 0 | 19502 | 3304 | 0 | 128026 | 0 | 18280 | 0 | 831 | 72709 | 29294 | 61478 | 4933 | 75295 | 97805 | 5285 | 69593 | 21235 | 0 | 283221 | 13395 | 11718 | 93397 | 0 | 1622 | 10246
|  | 50 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1831 | 0 | 29135 | 4855 | 0 | 133844 | 0 | 23363 | 0 | 0 | 63700 | 21444 | 55723 | 4093 | 69487 | 97204 | 5820 | 65950 | 20907 | 0 | 287795 | 13379 | 5852 | 78327 | 0 | 1843 | 9622
|  | 50 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1496 | 0 | 31242 | 4545 | 0 | 145944 | 0 | 24145 | 0 | 1234 | 71267 | 26090 | 46007 | 4201 | 72302 | 83697 | 5809 | 62537 | 19608 | 0 | 276585 | 12865 | 4841 | 82981 | 0 | 1432 | 7807
|  | 75 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2124 | 0 | 30087 | 5298 | 0 | 138601 | 0 | 22281 | 0 | 719 | 65529 | 23585 | 40845 | 4117 | 60398 | 76745 | 7136 | 70745 | 18747 | 0 | 260989 | 13216 | 3822 | 73391 | 0 | 2380 | 9108
|  | 75 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1906 | 0 | 30465 | 4851 | 0 | 142813 | 0 | 27443 | 0 | 1197 | 67540 | 27668 | 52535 | 3946 | 79155 | 101783 | 3481 | 62612 | 25805 | 0 | 309961 | 8145 | 7188 | 100397 | 0 | 1619 | 10227
|  | 75 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 25944 | 3844 | 0 | 130367 | 0 | 25296 | 0 | 1107 | 73258 | 30335 | 61377 | 7251 | 82028 | 112623 | 5854 | 61581 | 23649 | 0 | 288300 | 8178 | 11822 | 101671 | 0 | 1630 | 9891
|  | 75 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 23679 | 4804 | 0 | 109975 | 0 | 18232 | 0 | 691 | 48188 | 21513 | 43492 | 2894 | 55779 | 74125 | 0 | 65837 | 17348 | 0 | 228544 | 7553 | 5205 | 69510 | 0 | 1337 | 7799
|  | 75 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2421 | 0 | 29282 | 4630 | 0 | 146369 | 0 | 23722 | 0 | 781 | 69650 | 27905 | 48378 | 4673 | 70137 | 89964 | 2738 | 66860 | 22174 | 0 | 292006 | 10103 | 5615 | 90688 | 0 | 1597 | 11174
|  | 100 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1682 | 0 | 16267 | 3224 | 0 | 134075 | 0 | 19139 | 0 | 534 | 68374 | 28050 | 46999 | 4695 | 57596 | 92223 | 2141 | 69030 | 16724 | 0 | 259291 | 8702 | 4733 | 85477 | 0 | 1405 | 10469
|  | 100 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2706 | 0 | 23232 | 2650 | 0 | 166798 | 0 | 27167 | 0 | 911 | 87848 | 32910 | 58990 | 5908 | 83528 | 121493 | 4725 | 65729 | 25139 | 0 | 340867 | 11200 | 7169 | 105349 | 0 | 2394 | 13415
|  | 100 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 25384 | 5492 | 0 | 114999 | 0 | 18508 | 0 | 636 | 64302 | 27670 | 40804 | 3547 | 75421 | 101486 | 4673 | 50417 | 22161 | 0 | 271462 | 9462 | 5739 | 88354 | 0 | 1203 | 9307
|  | 100 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 1781 | 0 | 16779 | 2786 | 0 | 132255 | 0 | 24430 | 0 | 820 | 65533 | 27729 | 55782 | 5300 | 74413 | 104611 | 3776 | 60445 | 21563 | 0 | 284557 | 9543 | 6291 | 91444 | 0 | 1581 | 9882
|  | 100 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 2060 | 0 | 26988 | 4274 | 0 | 123296 | 0 | 22525 | 0 | 581 | 66732 | 27203 | 58562 | 3865 | 69000 | 95717 | 2651 | 64154 | 20607 | 0 | 270413 | 10066 | 5943 | 85531 | 0 | 1999 | 10020
|  | 125 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 18804 | 4512 | 0 | 81228 | 0 | 13827 | 0 | 763 | 42662 | 19812 | 33495 | 2747 | 42872 | 63691 | 0 | 66535 | 12367 | 0 | 179212 | 6751 | 2981 | 60221 | 0 | 0 | 7086
|  | 125 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 25829 | 3513 | 0 | 125485 | 0 | 22273 | 0 | 537 | 60221 | 26150 | 45508 | 4106 | 65780 | 85033 | 4060 | 78107 | 19292 | 0 | 266415 | 11025 | 5092 | 85574 | 0 | 1178 | 11128
|  | 125 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 961 | 0 | 24306 | 3388 | 0 | 129181 | 0 | 22839 | 0 | 692 | 60857 | 26461 | 59976 | 5268 | 66309 | 88503 | 3692 | 479401 | 20111 | 0 | 270859 | 10055 | 5919 | 85857 | 0 | 2095 | 9402
|  | 125 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 21407 | 4257 | 0 | 113729 | 0 | 19767 | 0 | 515 | 53661 | 23748 | 53291 | 3039 | 58770 | 80005 | 2160 | 480609 | 17412 | 0 | 243893 | 9164 | 5135 | 77621 | 0 | 0 | 8820
|  | 125 |  | PFOS | 0.045 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 28413 | 4167 | 0 | 132934 | 0 | 21500 | 0 | 626 | 61818 | 24840 | 49535 | 4566 | 66723 | 75841 | 3527 | 506963 | 20151 | 0 | 268690 | 9738 | 6171 | 83301 | 0 | 1855 | 8653
|  | T0 |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 2145 | 0 | 30517 | 4709 | 0 | 143398 | 0 | 23464 | 0 | 753 | 64436 | 26049 | 54332 | 4497 | 64314 | 85903 | 2598 | 491519 | 19784 | 0 | 281664 | 11187 | 6149 | 87509 | 0 | 1687 | 9878
|  | T0 |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 84030 | 42774 | 0 | 225319 | 14018 | 14468 | 5918 | 18627 | 166000 | 45982 | 73464 | 9430 | 38323 | 104477 | 4812 | 496176 | 17774 | 2476 | 437485 | 27937 | 14123 | 146058 | 240515 | 3178 | 40590
|  | T0 |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 0 | 3980 | 95666 | 49517 | 2321 | 247149 | 1284 | 10274 | 7838 | 22374 | 179622 | 27348 | 83142 | 13548 | 39328 | 114446 | 4668 | 486220 | 19223 | 4639 | 455068 | 27097 | 10293 | 152142 | 257470 | 4333 | 34797
|  | T0 |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 0 | 3668 | 95176 | 50537 | 0 | 223586 | 3038 | 9210 | 6802 | 21792 | 177131 | 29345 | 81346 | 11514 | 38320 | 110083 | 4737 | 481873 | 19251 | 2454 | 468076 | 30889 | 11128 | 155480 | 259850 | 3227 | 43522
|  | T0 |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 0 | 3794 | 96940 | 52770 | 0 | 233578 | 5578 | 15398 | 7429 | 22012 | 178691 | 28755 | 80866 | 11166 | 36387 | 99403 | 4105 | 489360 | 19151 | 2641 | 457019 | 28852 | 9977 | 148388 | 251944 | 3877 | 41072
|  | Control |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 0 | 10444 | 111071 | 55600 | 0 | 249812 | 1046 | 9516 | 7121 | 22495 | 185134 | 27910 | 79857 | 12694 | 38723 | 113962 | 5003 | 491594 | 16624 | 4460 | 455962 | 27200 | 8193 | 144025 | 257903 | 3756 | 35722
|  | Control |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 10964 | 37950 | 161138 | 23941 | 2958 | 642416 | 4392 | 39997 | 5460 | 3982 | 349901 | 60826 | 136547 | 44476 | 219255 | 312883 | 10287 | 507687 | 62050 | 4767 | 992494 | 44355 | 26499 | 287803 | 451062 | 3508 | 65552
|  | Control |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 12451 | 35989 | 154897 | 15949 | 0 | 581197 | 21968 | 58438 | 0 | 2970 | 384419 | 82763 | 137127 | 60684 | 236536 | 364570 | 11800 | 508000 | 66014 | 12569 | 1014645 | 44673 | 32618 | 319761 | 470315 | 3397 | 72404
|  | Control |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 12612 | 53221 | 219417 | 10109 | 2574 | 801463 | 31672 | 66377 | 0 | 14959 | 383202 | 60248 | 139608 | 41009 | 250328 | 338713 | 10767 | 510856 | 74060 | 5606 | 1163158 | 51660 | 42945 | 329569 | 463767 | 3564 | 76625
|  | Control |  | 6ppd-q | 0.15 | 250 | 1.05 | 400 | 1.25 | 11095 | 48652 | 188553 | 16462 | 0 | 728145 | 26578 | 58840 | 0 | 2675 | 346889 | 68837 | 120033 | 29569 | 209546 | 325885 | 9249 | 504446 | 65237 | 13501 | 1081745 | 49937 | 26731 | 309119 | 464237 | 3996 | 72187
|  | Methanol |  | 6ppd-q | 0.075 | 250 | 1.05 | 400 | 1.25 | 11019 | 50256 | 199745 | 15421 | 3667 | 769490 | 28899 | 69138 | 0 | 16150 | 367688 | 54756 | 115823 | 28371 | 221055 | 333321 | 9551 | 515940 | 69848 | 11543 | 1119400 | 50927 | 38332 | 322964 | 439934 | 3864 | 73816
|  | Methanol |  | 6ppd-q | 0.075 | 250 | 1.05 | 400 | 1.25 | 0 | 26908 | 134680 | 5791 | 0 | 527287 | 15654 | 32626 | 0 | 4113 | 246716 | 38092 | 72949 | 42324 | 110356 | 175156 | 7293 | 498934 | 35809 | 2843 | 673068 | 32385 | 9708 | 166947 | 254222 | 2487 | 46853
|  | Methanol |  | 6ppd-q | 0.075 | 250 | 1.05 | 400 | 1.25 | 4858 | 16728 | 81035 | 8012 | 0 | 346254 | 9943 | 24894 | 0 | 1427 | 195452 | 53991 | 64339 | 34769 | 97740 | 148802 | 6362 | 490029 | 28475 | 5630 | 492647 | 23746 | 7281 | 130812 | 224107 | 1754 | 37979
|  | Methanol |  | 6ppd-q | 0.075 | 250 | 1.05 | 400 | 1.25 | 4643 | 0 | 92164 | 8172 | 0 | 381304 | 12794 | 27629 | 0 | 705 | 189603 | 44662 | 50765 | 21271 | 94502 | 142909 | 5809 | 494402 | 26590 | 4898 | 520077 | 25785 | 8876 | 143456 | 222992 | 2058 | 40077
|  | Methanol |  | 6ppd-q | 0.075 | 250 | 1.05 | 400 | 1.25 | 0 | 19217 | 94746 | 10361 | 0 | 388276 | 11868 | 26798 | 0 | 3719 | 182509 | 41191 | 51298 | 19516 | 93371 | 135340 | 9357 | 488278 | 30765 | 5992 | 511184 | 27832 | 7225 | 134498 | 196088 | 2177 | 39898
|  | 10 |  | 6ppd-q | 0.075 | 250 | 1.05 | 400 | 1.25 | 3884 | 0 | 89127 | 8708 | 0 | 345070 | 11370 | 20862 | 0 | 0 | 192703 | 44247 | 54821 | 19249 | 81205 | 124024 | 7732 | 463735 | 21117 | 3004 | 462643 | 24830 | 6828 | 121674 | 189556 | 2559 | 37345
|  | 10 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 5872 | 18551 | 82021 | 7456 | 0 | 255448 | 6800 | 17135 | 0 | 1217 | 137655 | 36075 | 42602 | 14768 | 62249 | 88366 | 4213 | 394683 | 18643 | 5489 | 360242 | 15212 | 4894 | 96009 | 168789 | 0 | 30371
|  | 10 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 4016 | 10877 | 61674 | 4041 | 0 | 153074 | 4605 | 12444 | 0 | 2438 | 73397 | 20624 | 23743 | 6115 | 37438 | 52155 | 0 | 327344 | 11797 | 0 | 211331 | 7986 | 0 | 48463 | 87433 | 0 | 16943
|  | 10 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 36847 | 3162 | 0 | 154950 | 1103 | 8005 | 0 | 688 | 77645 | 19456 | 20928 | 7963 | 38566 | 58924 | 0 | 393452 | 10899 | 0 | 209725 | 9830 | 0 | 58601 | 100086 | 0 | 18386
|  | 10 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 4212 | 40027 | 2980 | 0 | 191142 | 6040 | 15375 | 0 | 0 | 82017 | 20438 | 23455 | 7773 | 47905 | 72233 | 1813 | 494953 | 14742 | 0 | 269541 | 11239 | 4482 | 70860 | 119835 | 0 | 20764
|  | 25 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 1946 | 40574 | 4030 | 0 | 198887 | 6079 | 16013 | 0 | 0 | 93098 | 27720 | 23912 | 7098 | 48215 | 71572 | 2799 | 493967 | 15114 | 0 | 280434 | 10264 | 4016 | 72282 | 111188 | 0 | 20652
|  | 25 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 30544 | 3335 | 0 | 145298 | 0 | 11281 | 0 | 0 | 69140 | 18856 | 20543 | 4946 | 42236 | 70362 | 2728 | 496438 | 13570 | 0 | 244642 | 9296 | 6318 | 68790 | 114451 | 0 | 14299
|  | 25 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 35716 | 4200 | 0 | 177531 | 4807 | 15388 | 0 | 0 | 94488 | 27395 | 31119 | 7713 | 52450 | 82534 | 1963 | 505279 | 16081 | 0 | 274959 | 12291 | 4773 | 74293 | 131627 | 0 | 21981
|  | 25 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 44048 | 2917 | 0 | 219718 | 6677 | 15172 | 0 | 601 | 99644 | 26704 | 24830 | 9968 | 51868 | 83158 | 3272 | 512083 | 15188 | 0 | 293380 | 12773 | 4022 | 77981 | 126605 | 0 | 22545
|  | 25 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 2374 | 41564 | 3333 | 0 | 200155 | 7217 | 17290 | 0 | 0 | 82474 | 25343 | 28422 | 5583 | 49967 | 78917 | 2896 | 513713 | 16445 | 0 | 286382 | 14199 | 4120 | 71884 | 125339 | 0 | 21654
|  | 50 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 3731 | 39905 | 3263 | 0 | 189015 | 5675 | 12581 | 0 | 0 | 79502 | 21670 | 18951 | 5762 | 39104 | 63041 | 0 | 490788 | 12267 | 0 | 245122 | 10797 | 2979 | 61990 | 100576 | 0 | 15776
|  | 50 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 8811 | 38104 | 2229 | 0 | 190497 | 6395 | 15930 | 0 | 0 | 96737 | 24511 | 28283 | 9292 | 52415 | 76290 | 0 | 447350 | 15286 | 0 | 266426 | 11664 | 10681 | 73400 | 114127 | 0 | 19227
|  | 50 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 5673 | 32717 | 2200 | 0 | 149746 | 5393 | 11756 | 0 | 0 | 74418 | 18913 | 22039 | 5665 | 37796 | 54307 | 0 | 379416 | 12371 | 0 | 211511 | 10200 | 0 | 55228 | 92233 | 0 | 17067
|  | 50 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 4394 | 34046 | 2808 | 0 | 165830 | 4772 | 11860 | 0 | 0 | 85390 | 24466 | 23171 | 7950 | 42848 | 64686 | 1794 | 510658 | 11856 | 0 | 234255 | 11507 | 3780 | 63087 | 105557 | 0 | 19248
|  | 50 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 32750 | 3219 | 0 | 158031 | 5314 | 12501 | 0 | 0 | 81199 | 22174 | 21780 | 7044 | 43222 | 60476 | 0 | 506542 | 11510 | 0 | 224552 | 10362 | 2984 | 58307 | 99825 | 0 | 17653
|  | 75 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 4053 | 37772 | 2932 | 0 | 186580 | 6144 | 13823 | 0 | 0 | 83384 | 23370 | 24180 | 6375 | 45962 | 69202 | 0 | 502906 | 13734 | 0 | 251777 | 11096 | 3527 | 64338 | 105869 | 1086 | 18130
|  | 75 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 4500 | 49011 | 4050 | 0 | 244377 | 8163 | 16136 | 0 | 399 | 121490 | 32584 | 35901 | 11487 | 53268 | 79998 | 3484 | 515523 | 15182 | 0 | 309066 | 14757 | 3851 | 77489 | 140021 | 1511 | 23869
|  | 75 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 2130 | 8777 | 54729 | 3429 | 0 | 260679 | 8391 | 18433 | 0 | 0 | 106891 | 31549 | 28822 | 8444 | 56700 | 86397 | 2943 | 508237 | 17189 | 0 | 324827 | 15394 | 4179 | 82392 | 135061 | 1609 | 23304
|  | 75 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 59888 | 4860 | 0 | 282607 | 8597 | 15371 | 0 | 405 | 122757 | 29984 | 25148 | 10295 | 47554 | 79339 | 2325 | 494296 | 15096 | 0 | 327821 | 16388 | 4378 | 78574 | 131858 | 1143 | 26679
|  | 75 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 8876 | 52649 | 3217 | 0 | 233358 | 7608 | 15345 | 0 | 0 | 105928 | 28009 | 26182 | 7216 | 50603 | 81687 | 2499 | 477888 | 15061 | 0 | 301700 | 15231 | 4586 | 78281 | 121979 | 1221 | 24055
|  | 100 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 39285 | 1702 | 0 | 173844 | 5945 | 12065 | 0 | 0 | 91074 | 25260 | 23477 | 8552 | 42481 | 74688 | 0 | 473865 | 11547 | 0 | 239017 | 13976 | 3670 | 63839 | 103289 | 0 | 20181
|  | 100 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 4762 | 51517 | 1836 | 0 | 209334 | 7123 | 13722 | 0 | 0 | 94771 | 24791 | 33292 | 8389 | 45836 | 67186 | 0 | 429548 | 15547 | 0 | 267448 | 14394 | 4073 | 66908 | 102139 | 0 | 19877
|  | 100 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 4198 | 48196 | 1795 | 0 | 230358 | 7018 | 12698 | 0 | 0 | 115109 | 29117 | 31006 | 12355 | 44665 | 76505 | 3909 | 483819 | 12260 | 0 | 273405 | 13274 | 3553 | 68405 | 119742 | 0 | 22254
|  | 100 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 49888 | 4501 | 0 | 233763 | 7879 | 15180 | 0 | 292 | 105420 | 26919 | 33205 | 9242 | 47023 | 80321 | 3927 | 512636 | 15524 | 0 | 292840 | 15714 | 3949 | 74549 | 124410 | 1478 | 23017
|  | 100 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 53613 | 2174 | 0 | 248583 | 7746 | 14792 | 0 | 0 | 93170 | 24338 | 25161 | 7265 | 43260 | 68139 | 3233 | 497732 | 14178 | 0 | 296439 | 15417 | 5176 | 72959 | 109236 | 1561 | 22012
|  | 125 |  | 6ppd-q | 0.1 | 250 | 1.05 | 400 | 1.25 | 0 | 4833 | 50353 | 2232 | 0 | 247623 | 7600 | 12476 | 0 | 0 | 99008 | 27675 | 25361 | 9504 | 39983 | 67293 | 2205 | 498455 | 11745 | 0 | 278599 | 14712 | 7109 | 70187 | 105650 | 1207 | 22679
|  | 125 |  | 6ppd-q | 0.1 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 66729 | 4075 | 0 | 308070 | 9114 | 20167 | 0 | 0 | 119410 | 32204 | 36119 | 15077 | 63681 | 91156 | 1857 | 507258 | 22088 | 4659 | 375661 | 20511 | 4979 | 92542 | 148769 | 2603 | 28649
|  | 125 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 6031 | 55826 | 3391 | 0 | 268146 | 8867 | 18128 | 0 | 0 | 122170 | 35185 | 35815 | 17873 | 61946 | 95203 | 1918 | 509848 | 17171 | 4219 | 345204 | 20323 | 3681 | 82627 | 147273 | 2289 | 28593
|  | 125 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 3323 | 40142 | 3035 | 0 | 204301 | 6688 | 11687 | 0 | 0 | 102922 | 27326 | 22718 | 15706 | 42231 | 67621 | 3807 | 513272 | 11661 | 0 | 253603 | 15149 | 3007 | 67029 | 117898 | 1724 | 21265
|  | 125 |  | 6ppd-q | 0.05 | 250 | 1.05 | 400 | 1.25 | 0 | 0 | 37667 | 3370 | 0 | 173490 | 5948 | 12045 | 0 | 0 | 79711 | 25413 | 20210 | 8470 | 44486 | 70585 | 0 | 459885 | 12113 | 0 | 234910 | 13846 | 0 | 66649 | 103741 | 1841 | 20943
Note on F6: The total volume of water filtered through the filter(s) in the microfuge tube
Note on H6: Volume of acetone added to the microfuge tube for extraction + volume of carotenal added
Note on I6: Volume of extract placed in the HPLC sample vial
Note on J9: Acetone + AmAc (ml) / Acetone (ml)

## ug_liter
HPLC PHOTOPIGMENT ANALYSIS FACILITY
BARUCH INSTITUTE FOR MARINE AND COASTAL SCIENCES
UNIVERSITY OF SOUTH CAROLINA | [8 empty] | Protocols and Methods Link
COLUMBIA, SC 29208 USA | [8 empty] | Technical Description of Methods Link
PINCKNEY@SC.EDU |  | (803) 777.7133
| Sample ID: | 0
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
0 Concentrations Indicate "Below Limits of Detection"
[5 empty] | Sample | Volume | Internal Std
Number | Date | Station | Other | Notes | Volume (L) | Constants | Constant | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Chl b | Chla Allomer | Chl a | Chla prime | α Carotene | β Carotene | Myxo | Croco | Echin | Astax | Myxo II | Chl-ide a | Total Chl a | ALL Chl a
First Line of Data | 0 | T0 | 0 | PFOS | 0.15 | 0.03488 | 0.95128 | 0 | 0.16757 | 0.15526 | 0 | 0.61007 | 0 | 0.086956 | 0 | 0.043008 | 0.34669 | 0.056959 | 0.21958 | 0.02089 | 0.26178 | 0.40929 | 0 | 0.2903 | 0 | 5.0874 | 0.21324 | 0 | 1.1958 | 0.87283 | 0 | 0 | 0 | 0 | 0 | 5.0874 | 5.3006
0 | 0 | T0 | 0 | PFOS | 0.15 | 0.036517 | 0.99593 | 0 | 0.17379 | 0.13899 | 0 | 0.65105 | 0 | 0.071077 | 0 | 0.017556 | 0.33416 | 0.1563 | 0.27031 | 0.026433 | 0.29538 | 0.4312 | 0.03817 | 0.26002 | 0.064694 | 5.2821 | 0.20329 | 0.078974 | 1.211 | 0.88712 | 0.012891 | 0 | 0 | 0 | 0.027942 | 5.3101 | 5.5781
0 | 0 | T0 | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.16752 | 0.11391 | 0 | 0.53374 | 0 | 0.12264 | 0 | 0.083095 | 0.4732 | 0.24756 | 0.34474 | 0.057632 | 0.34264 | 0.53339 | 0.046161 | 0.396 | 0.054036 | 6.3361 | 0.30359 | 0.1081 | 1.5135 | 0.86095 | 0.017326 | 0.23577 | 0 | 0 | 0.021562 | 6.3577 | 6.7153
0 | 0 | T0 | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.18132 | 0.1642 | 0 | 0.70665 | 0 | 0.12393 | 0 | 0.061413 | 0.4339 | 0.24444 | 0.32101 | 0.049494 | 0.32088 | 0.48117 | 0.048755 | 0.26648 | 0.080485 | 5.7819 | 0.23905 | 0.10696 | 1.3611 | 1.095 | 0.015942 | 0.19602 | 0 | 0 | 0.019916 | 5.8018 | 6.1213
0 | 0 | T0 | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.19884 | 0.19121 | 0 | 0.71871 | 0 | 0.12496 | 0 | 0.021319 | 0.43151 | 0.20166 | 0.31108 | 0.045361 | 0.31438 | 0.47127 | 0.047825 | 0.28634 | 0.070219 | 5.8714 | 0.24258 | 0.091627 | 1.3984 | 1.048 | 0.013384 | 0.19795 | 0 | 0 | 0.033532 | 5.9049 | 6.2177
0 | 0 | Control | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.34098 | 0.12263 | 0 | 1.661 | 0 | 0.42511 | 0 | 0.017738 | 0.75228 | 0.29411 | 0.76685 | 0.10753 | 1.531 | 1.0514 | 0.10294 | 1.3877 | 0.19723 | 13.5755 | 0.42972 | 0.30368 | 2.873 | 0 | 0.02927 | 0.32328 | 0 | 0 | 0.10533 | 13.6808 | 14.3077
0 | 0 | Control | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.36415 | 0.14777 | 0 | 1.7795 | 0 | 0.58563 | 0 | 0.027676 | 0.80604 | 0.28332 | 0.719 | 0.11057 | 2.0792 | 1.1481 | 0.097968 | 1.8572 | 0.19114 | 15.6128 | 0.45587 | 0.32469 | 3.2887 | 0 | 0.025813 | 0.33255 | 0 | 0 | 0.13483 | 15.7477 | 16.3947
0 | 0 | Control | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.40166 | 0.14293 | 0 | 1.8812 | 0 | 0.53986 | 0 | 0.024126 | 0.95424 | 0.35318 | 0.99815 | 0.14738 | 2.0132 | 1.194 | 0.097294 | 1.5502 | 0.1644 | 15.8524 | 0.46658 | 0.52165 | 3.335 | 0 | 0.028999 | 0.34502 | 0 | 0 | 0.15451 | 16.0069 | 16.6379
0 | 0 | Control | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.36747 | 0.13428 | 0 | 1.7922 | 0 | 0.51379 | 0 | 0.024693 | 0.87637 | 0.34258 | 0.8901 | 0.13533 | 1.9904 | 1.0911 | 0.11066 | 1.6356 | 0.15828 | 15.0967 | 0.47065 | 0.35337 | 3.1375 | 0 | 0.030362 | 0.33395 | 0 | 0 | 0.10151 | 15.1982 | 15.8272
0 | 0 | Control | 0 | PFOS | 0.15 | 0.036667 | 1 | 0 | 0.42064 | 0.098419 | 0 | 2.0098 | 0 | 0.61501 | 0 | 0.017322 | 0.79204 | 0.31809 | 0.93815 | 0.11523 | 2.3124 | 1.0144 | 0.095643 | 2.0992 | 0.1939 | 17.1086 | 0.49248 | 0.55576 | 3.4635 | 0 | 0.033721 | 0.32907 | 0 | 0 | 0.14492 | 17.2535 | 17.9399
0 | 0 | Methanol | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.48246 | 0.16388 | 0 | 2.7663 | 0 | 0.68641 | 0 | 0.01753 | 1.0228 | 0.52075 | 0.76549 | 0.098098 | 2.2758 | 1.1837 | 0.18675 | 1.9131 | 0.25575 | 19.2675 | 0.64418 | 0.33366 | 3.6652 | 0 | 0.021061 | 0.41045 | 0 | 0 | 0.12425 | 19.3918 | 20.2917
0 | 0 | Methanol | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.28471 | 0.096858 | 0 | 2.0293 | 0 | 0.41957 | 0 | 0.010403 | 0.65404 | 0.35969 | 0.36187 | 0.042779 | 1.3823 | 0.78782 | 0.11638 | 1.08 | 0 | 12.0036 | 0.43399 | 0.15118 | 2.3931 | 0 | 0.013786 | 0.25606 | 0 | 0 | 0.044873 | 12.0485 | 12.4825
0 | 0 | Methanol | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0 | 0.15947 | 0 | 0 | 0.28045 | 2.6518 | 0.022652 | 7.6962 | 0 | 0 | 0 | 0 | 13.9304 | 1.5249 | 1.0563 | 9.375 | 0 | 32.6393 | 7.9346 | 8.7909 | 0.19374 | 0 | 0.71325 | 5.4989 | 0 | 0 | 0.51863 | 33.158 | 41.0925
0 | 0 | Methanol | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.26193 | 0.06836 | 0 | 1.9006 | 0 | 0.40428 | 0 | 0.011805 | 0.64139 | 0.37641 | 0.42208 | 0.057577 | 1.4474 | 0.91765 | 0.092601 | 1.0623 | 0 | 11.8437 | 0.46973 | 0.16434 | 2.539 | 0 | 0.016436 | 0.32232 | 0 | 0 | 0.048648 | 11.8923 | 12.3621
0 | 0 | Methanol | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.24426 | 0.080171 | 0 | 1.7976 | 0 | 0.3696 | 0 | 0.013295 | 0.63186 | 0.37471 | 0.42442 | 0.053839 | 1.1832 | 0.85049 | 0.046115 | 0.8822 | 0 | 10.6698 | 0.41543 | 0.14058 | 2.2636 | 0 | 0.017746 | 0.2727 | 0 | 0 | 0 | 10.6698 | 11.0852
0 | 0 | 10 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.31583 | 0.11306 | 0 | 2.1514 | 0 | 0.44256 | 0 | 0.012705 | 0.76621 | 0.37085 | 0.44335 | 0.052619 | 1.2744 | 0.87303 | 0.12819 | 1.0532 | 0 | 12.694 | 0.49663 | 0.15054 | 2.4717 | 0 | 0.015722 | 0.26417 | 0 | 0 | 0.048737 | 12.7428 | 13.2394
0 | 0 | 10 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.26974 | 0.066473 | 0 | 2.0298 | 0 | 0.36835 | 0 | 0.0091044 | 0.59223 | 0.29235 | 0.43506 | 0.057562 | 1.1505 | 0.86302 | 0.089763 | 0.95235 | 0.17914 | 11.701 | 0.50127 | 0.13043 | 2.3524 | 0 | 0.014034 | 0.28052 | 0 | 0 | 0.036058 | 11.737 | 12.4174
0 | 0 | 10 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.24856 | 0.11526 | 0 | 1.7724 | 0 | 0.35324 | 0 | 0.0068173 | 0.57343 | 0.33999 | 0.36987 | 0.061559 | 1.1983 | 0.80051 | 0.11105 | 0.96305 | 0 | 10.8498 | 0.50538 | 0.12673 | 2.3644 | 0 | 0.021538 | 0.28373 | 0 | 0 | 0.048492 | 10.8983 | 11.4037
0 | 0 | 10 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.26137 | 0.064692 | 0 | 1.8754 | 0 | 0.45482 | 0 | 0 | 0.63465 | 0.30987 | 0.54951 | 0.062368 | 1.3922 | 0.83788 | 0.11848 | 1.1412 | 0.19654 | 11.8894 | 0.45983 | 0.17829 | 2.4565 | 0 | 0.025131 | 0.24574 | 0 | 0 | 0.051201 | 11.9406 | 12.5969
0 | 0 | 10 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.27501 | 0.086702 | 0 | 1.9964 | 0 | 0.3793 | 0 | 0.0148 | 0.68816 | 0.39261 | 0.46735 | 0.071003 | 1.1778 | 0.95834 | 0.085876 | 0.97999 | 0 | 11.8976 | 0.56316 | 0.13341 | 2.4746 | 0 | 0.0146 | 0.3024 | 0 | 0 | 0.044962 | 11.9425 | 12.5057
0 | 0 | 25 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.24917 | 0.081676 | 0 | 1.5799 | 0 | 0.22148 | 0 | 0.034204 | 0.58675 | 0.10547 | 0.51227 | 0.093017 | 1.1649 | 0.86309 | 0.23025 | 0.93251 | 0 | 10.7613 | 0.49476 | 0.13887 | 2.1372 | 0 | 0.024714 | 0.27357 | 0 | 0 | 0.045895 | 10.8072 | 11.302
0 | 0 | 25 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.134 | 0.055278 | 0 | 1.6711 | 0 | 0.25733 | 0 | 0.016276 | 0.6888 | 0.3542 | 0.54522 | 0.069889 | 1.2879 | 0.84843 | 0.10387 | 0.96701 | 0 | 10.8985 | 0.48093 | 0.14308 | 2.1381 | 0 | 0.013895 | 0.25023 | 0 | 0 | 0.036081 | 10.9346 | 11.4155
0 | 0 | 25 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.30977 | 0.11357 | 0 | 2.1183 | 0.07147 | 0.37947 | 0 | 0.021854 | 0.83295 | 0 | 0.52273 | 0.057028 | 1.4045 | 0.99787 | 0.053997 | 1.0351 | 0 | 12.7218 | 0.58034 | 0.12633 | 2.524 | 0 | 0.014094 | 0.32817 | 0 | 0 | 0.050646 | 12.7724 | 13.3528
0 | 0 | 25 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.3075 | 0.10093 | 0 | 2.1564 | 0 | 0.48416 | 0 | 0.018725 | 0.86721 | 0.40465 | 0.58264 | 0.059789 | 1.5954 | 0.98026 | 0.092187 | 1.2095 | 0 | 13.4662 | 0.58181 | 0.19329 | 2.7026 | 0 | 0.020386 | 0.29342 | 0 | 0 | 0.039034 | 13.5052 | 14.087
0 | 0 | 25 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.28937 | 0.11855 | 0 | 2.0589 | 0 | 0.45138 | 0 | 0.013044 | 0.71428 | 0.37216 | 0.54202 | 0.059332 | 1.4002 | 0.95092 | 0.10741 | 1.136 | 0 | 12.9026 | 0.64369 | 0.15177 | 2.6793 | 0 | 0.027334 | 0.30555 | 0 | 0 | 0.041298 | 12.9439 | 13.5876
0 | 0 | 50 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.26659 | 0.11115 | 0 | 1.918 | 0 | 0.46478 | 0 | 0.011377 | 0.69938 | 0.31465 | 0.58128 | 0.060552 | 1.5572 | 1.0503 | 0.098147 | 1.2199 | 0 | 12.8793 | 0.60751 | 0.19681 | 2.6308 | 0 | 0.017905 | 0.26215 | 0 | 0 | 0.042209 | 12.9215 | 13.5291
0 | 0 | 50 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.27881 | 0.1546 | 0 | 1.9178 | 0 | 0.4339 | 0 | 0.014372 | 0.7201 | 0.30457 | 0.45583 | 0.061696 | 1.4128 | 1.0184 | 0.06033 | 1.0833 | 0 | 12.2322 | 0.56592 | 0.14228 | 2.5535 | 0 | 0.016664 | 0.29859 | 0 | 0 | 0.039655 | 12.2719 | 12.8378
0 | 0 | 50 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.17688 | 0.070057 | 0 | 1.8928 | 0 | 0.34692 | 0 | 0.012262 | 0.80961 | 0.42661 | 0.58551 | 0.075259 | 1.5349 | 1.0233 | 0.1154 | 1.1833 | 0 | 12.6365 | 0.59765 | 0.31211 | 2.6867 | 0 | 0.016099 | 0.30457 | 0 | 0 | 0.03426 | 12.6708 | 13.2684
0 | 0 | 50 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.26425 | 0.10294 | 0 | 1.9788 | 0 | 0.44339 | 0 | 0 | 0.70929 | 0.31229 | 0.5307 | 0.062444 | 1.4165 | 1.0171 | 0.12708 | 1.165 | 0 | 12.8406 | 0.59693 | 0.15587 | 2.2532 | 0 | 0.018292 | 0.28602 | 0 | 0 | 0.040655 | 12.8813 | 13.4782
0 | 0 | 50 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.28336 | 0.09637 | 0 | 2.1577 | 0 | 0.45823 | 0 | 0.018209 | 0.79355 | 0.37995 | 0.43816 | 0.064092 | 1.4739 | 0.87573 | 0.12684 | 1.0926 | 0 | 12.3405 | 0.574 | 0.12894 | 2.3871 | 0 | 0.014213 | 0.23207 | 0 | 0 | 0.033216 | 12.3737 | 12.9477
0 | 0 | 75 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.27288 | 0.11234 | 0 | 2.0491 | 0 | 0.42286 | 0 | 0.01061 | 0.72966 | 0.34347 | 0.389 | 0.06281 | 1.2313 | 0.80299 | 0.15581 | 1.0446 | 0 | 11.6446 | 0.58966 | 0.1018 | 2.1112 | 0 | 0.023622 | 0.27074 | 0 | 0 | 0.04716 | 11.6918 | 12.2814
0 | 0 | 75 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.27631 | 0.10286 | 0 | 2.1114 | 0 | 0.52082 | 0 | 0.017663 | 0.75205 | 0.40293 | 0.50033 | 0.060201 | 1.6136 | 1.065 | 0.076007 | 1.4379 | 0 | 13.8296 | 0.36341 | 0.19145 | 2.8881 | 0 | 0.016069 | 0.304 | 0 | 0 | 0.04232 | 13.8719 | 14.2353
0 | 0 | 75 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.23531 | 0.081507 | 0 | 1.9274 | 0 | 0.48008 | 0 | 0.016335 | 0.81572 | 0.44177 | 0.58454 | 0.11062 | 1.6722 | 1.1784 | 0.12782 | 1.3178 | 0 | 12.8631 | 0.36488 | 0.31488 | 2.9247 | 0 | 0.016178 | 0.29402 | 0 | 0 | 0 | 12.8631 | 13.228
0 | 0 | 75 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.21476 | 0.10186 | 0 | 1.6259 | 0 | 0.34601 | 0 | 0.010196 | 0.53657 | 0.3133 | 0.41421 | 0.044152 | 1.1371 | 0.77558 | 0 | 0.96667 | 0 | 10.197 | 0.33699 | 0.13863 | 1.9996 | 0 | 0.01327 | 0.23183 | 0 | 0 | 0 | 10.197 | 10.534
0 | 0 | 75 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.26558 | 0.098173 | 0 | 2.1639 | 0 | 0.4502 | 0 | 0.011524 | 0.77555 | 0.40638 | 0.46074 | 0.071292 | 1.4298 | 0.94131 | 0.059784 | 1.2356 | 0 | 13.0285 | 0.45077 | 0.14956 | 2.6088 | 0 | 0.015851 | 0.33215 | 0 | 0 | 0.053755 | 13.0823 | 13.533
0 | 0 | 100 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.14754 | 0.06836 | 0 | 1.9822 | 0 | 0.36323 | 0 | 0.0078797 | 0.76134 | 0.4085 | 0.44761 | 0.071628 | 1.1741 | 0.96494 | 0.046748 | 0.9319 | 0 | 11.5688 | 0.38826 | 0.12606 | 2.4589 | 0 | 0.013945 | 0.3112 | 0 | 0 | 0.037346 | 11.6062 | 11.9944
0 | 0 | 100 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.21071 | 0.05619 | 0 | 2.466 | 0 | 0.51558 | 0 | 0.013443 | 0.97818 | 0.47927 | 0.56181 | 0.090134 | 1.7028 | 1.2712 | 0.10317 | 1.4008 | 0 | 15.2085 | 0.49971 | 0.19095 | 3.0305 | 0 | 0.023761 | 0.39877 | 0 | 0 | 0.060083 | 15.2686 | 15.7683
0 | 0 | 100 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.23023 | 0.11645 | 0 | 1.7002 | 0 | 0.35125 | 0 | 0.0093848 | 0.716 | 0.40296 | 0.38861 | 0.054114 | 1.5375 | 1.0619 | 0.10203 | 1.2349 | 0 | 12.1119 | 0.42217 | 0.15286 | 2.5416 | 0 | 0.01194 | 0.27666 | 0 | 0 | 0 | 12.1119 | 12.534
0 | 0 | 100 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.15218 | 0.059073 | 0 | 1.9553 | 0 | 0.46364 | 0 | 0.0121 | 0.7297 | 0.40382 | 0.53126 | 0.080858 | 1.517 | 1.0946 | 0.082448 | 1.2015 | 0 | 12.6961 | 0.42578 | 0.16756 | 2.6305 | 0 | 0.015692 | 0.29375 | 0 | 0 | 0.039544 | 12.7357 | 13.1615
0 | 0 | 100 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.24478 | 0.090624 | 0 | 1.8228 | 0 | 0.42749 | 0 | 0.0085732 | 0.74306 | 0.39616 | 0.55773 | 0.058965 | 1.4066 | 1.0015 | 0.057884 | 1.1483 | 0 | 12.0651 | 0.44912 | 0.15829 | 2.4604 | 0 | 0.019841 | 0.29785 | 0 | 0 | 0.045739 | 12.1108 | 12.5599
0 | 0 | 125 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.17055 | 0.095671 | 0 | 1.2009 | 0 | 0.26241 | 0 | 0.011259 | 0.47504 | 0.28852 | 0.319 | 0.041909 | 0.87397 | 0.66641 | 0 | 0.68912 | 0 | 7.9959 | 0.30121 | 0.079399 | 1.7324 | 0 | 0 | 0.21064 | 0 | 0 | 0 | 7.9959 | 8.2972
0 | 0 | 125 | 0 | PFOS | 0.045 | 0.12222 | 1 | 0 | 0.23426 | 0.074488 | 0 | 1.8552 | 0 | 0.4227 | 0 | 0.0079239 | 0.67056 | 0.38083 | 0.43341 | 0.062642 | 1.341 | 0.88971 | 0.088649 | 1.075 | 0 | 11.8867 | 0.4919 | 0.13563 | 2.4617 | 0 | 0.011692 | 0.33079 | 0 | 0 | 0 | 11.8867 | 12.3786
0 | 0 | 125 | 0 | PFOS | 0.045 | 0.12229 | 1.0006 | 0 | 0.22058 | 0.071879 | 0 | 1.9109 | 0 | 0.43369 | 0 | 0.010217 | 0.67802 | 0.38557 | 0.57153 | 0.080416 | 1.3525 | 0.92655 | 0.08066 | 1.1213 | 0 | 12.0918 | 0.44888 | 0.15774 | 2.4712 | 0 | 0.020805 | 0.27964 | 0 | 0 | 0.02135 | 12.1132 | 12.5621
0 | 0 | 125 | 0 | PFOS | 0.045 | 0.12198 | 0.99805 | 0 | 0.19378 | 0.090088 | 0 | 1.6781 | 0 | 0.37441 | 0 | 0.0075845 | 0.59635 | 0.34517 | 0.50655 | 0.046274 | 1.1957 | 0.83547 | 0.047071 | 0.96835 | 0 | 10.8606 | 0.40808 | 0.1365 | 2.2285 | 0 | 0 | 0.26167 | 0 | 0 | 0 | 10.8606 | 11.2687
0 | 0 | 125 | 0 | PFOS | 0.045 | 0.11564 | 0.94617 | 0 | 0.24383 | 0.083599 | 0 | 1.8595 | 0 | 0.38607 | 0 | 0.00874 | 0.65129 | 0.34228 | 0.44637 | 0.06591 | 1.287 | 0.75082 | 0.072866 | 1.0624 | 0 | 11.3429 | 0.41109 | 0.15552 | 2.2673 | 0 | 0.01742 | 0.24337 | 0 | 0 | 0 | 11.3429 | 11.754
0 | 0 | T0 | 0 | 6ppd-q | 0.15 | 0.035783 | 0.9759 | 0 | 0.081034 | 0.029232 | 0 | 0.62068 | 0 | 0.13037 | 0 | 0.003253 | 0.21006 | 0.11106 | 0.15149 | 0.020086 | 0.38385 | 0.26315 | 0.016608 | 0.32275 | 0 | 3.6793 | 0.14613 | 0.047949 | 0.737 | 0 | 0.0049021 | 0.085966 | 0 | 0 | 0.013944 | 3.6932 | 3.8393
0 | 0 | T0 | 0 | 6ppd-q | 0.15 | 0.035447 | 0.96674 | 0 | 0.22104 | 0.26304 | 0 | 0.96611 | 0.073617 | 0.079634 | 0.045052 | 0.079715 | 0.53608 | 0.19421 | 0.20292 | 0.041724 | 0.22658 | 0.31704 | 0.030472 | 0.28724 | 0.032039 | 5.661 | 0.3615 | 0.1091 | 1.2186 | 1.5032 | 0.009148 | 0.34993 | 0 | 0 | 0 | 5.661 | 6.0546
0 | 0 | T0 | 0 | 6ppd-q | 0.15 | 0.036173 | 0.98654 | 0.020677 | 0.2568 | 0.31074 | 0.011087 | 1.0814 | 0.0068811 | 0.057707 | 0.06089 | 0.097711 | 0.59194 | 0.11787 | 0.23435 | 0.061173 | 0.23728 | 0.3544 | 0.030166 | 0.31702 | 0.061258 | 6.0091 | 0.35781 | 0.081139 | 1.2953 | 1.6421 | 0.012728 | 0.30613 | 0 | 0 | 0 | 6.0091 | 6.4282
0 | 0 | T0 | 0 | 6ppd-q | 0.15 | 0.036499 | 0.99544 | 0.019228 | 0.25779 | 0.32 | 0 | 0.98713 | 0.016428 | 0.052198 | 0.053318 | 0.096028 | 0.589 | 0.12762 | 0.23136 | 0.052458 | 0.23328 | 0.34397 | 0.030888 | 0.32034 | 0.032697 | 6.2367 | 0.41157 | 0.088512 | 1.3357 | 1.6722 | 0.0095648 | 0.38634 | 0 | 0 | 0 | 6.2367 | 6.6809
0 | 0 | T0 | 0 | 6ppd-q | 0.15 | 0.035941 | 0.98021 | 0.019584 | 0.25855 | 0.32903 | 0 | 1.0155 | 0.029701 | 0.085933 | 0.057342 | 0.095514 | 0.5851 | 0.12314 | 0.22647 | 0.050094 | 0.21813 | 0.30584 | 0.026357 | 0.3138 | 0.03465 | 5.9962 | 0.37854 | 0.078143 | 1.2552 | 1.5965 | 0.011316 | 0.35902 | 0 | 0 | 0 | 5.9962 | 6.4094
0 | 0 | Control | 0 | 6ppd-q | 0.15 | 0.035778 | 0.97575 | 0.053666 | 0.29489 | 0.3451 | 0 | 1.0811 | 0.0055444 | 0.052866 | 0.054715 | 0.097166 | 0.60344 | 0.11898 | 0.22263 | 0.05669 | 0.23108 | 0.34905 | 0.031977 | 0.27116 | 0.05825 | 5.9551 | 0.35525 | 0.063879 | 1.2128 | 1.6269 | 0.010913 | 0.31083 | 0 | 0 | 0 | 5.9551 | 6.3686
0 | 0 | Control | 0 | 6ppd-q | 0.15 | 0.034643 | 0.94482 | 0.18882 | 0.41425 | 0.14389 | 0.013532 | 2.692 | 0.022542 | 0.21516 | 0.040623 | 0.016655 | 1.1043 | 0.25108 | 0.36861 | 0.19233 | 1.2669 | 0.92793 | 0.063666 | 0.98004 | 0.060286 | 12.5517 | 0.56094 | 0.20006 | 2.3467 | 2.7551 | 0.009869 | 0.55232 | 0 | 0 | 0.069002 | 12.6207 | 13.2419
0 | 0 | Control | 0 | 6ppd-q | 0.15 | 0.034622 | 0.94424 | 0.17896 | 0.39796 | 0.095796 | 0 | 2.434 | 0.11268 | 0.31416 | 0 | 0.012414 | 1.2125 | 0.34142 | 0.36995 | 0.26226 | 1.3659 | 1.0806 | 0.072985 | 1.042 | 0.15886 | 12.8239 | 0.56461 | 0.2461 | 2.6057 | 2.871 | 0.0095508 | 0.60967 | 0 | 0 | 0.078312 | 12.9022 | 13.6257
0 | 0 | Control | 0 | 6ppd-q | 0.15 | 0.034429 | 0.93896 | 0.26316 | 0.56058 | 0.060379 | 0.011702 | 3.3377 | 0.16155 | 0.35485 | 0 | 0.062178 | 1.2019 | 0.24715 | 0.37453 | 0.17624 | 1.4375 | 0.9983 | 0.066224 | 1.1625 | 0.070457 | 14.6187 | 0.64927 | 0.32221 | 2.6706 | 2.8152 | 0.0099643 | 0.64161 | 0 | 0 | 0.078881 | 14.6976 | 15.4173
0 | 0 | Control | 0 | 6ppd-q | 0.15 | 0.034866 | 0.95089 | 0.24363 | 0.48785 | 0.099574 | 0 | 3.0709 | 0.13729 | 0.31855 | 0 | 0.01126 | 1.1019 | 0.28598 | 0.32611 | 0.12869 | 1.2186 | 0.9727 | 0.05761 | 1.037 | 0.17184 | 13.7683 | 0.63559 | 0.2031 | 2.5367 | 2.8538 | 0.011314 | 0.61213 | 0 | 0 | 0.070275 | 13.8386 | 14.646
0 | 0 | Methanol | 0 | 6ppd-q | 0.075 | 0.068179 | 0.92971 | 0.49211 | 1.0106 | 0.1824 | 0.033014 | 6.3459 | 0.2919 | 0.73194 | 0 | 0.13293 | 2.2838 | 0.44482 | 0.61532 | 0.24145 | 2.5138 | 1.9455 | 0.11633 | 2.1711 | 0.28729 | 27.8603 | 1.2675 | 0.56952 | 5.1825 | 5.2884 | 0.021393 | 1.224 | 0 | 0 | 0.13648 | 27.9968 | 29.5516
0 | 0 | Methanol | 0 | 6ppd-q | 0.075 | 0.070502 | 0.9614 | 0.27246 | 0.70462 | 0.07083 | 0 | 4.4967 | 0.16351 | 0.35717 | 0 | 0.035009 | 1.5847 | 0.31999 | 0.40076 | 0.37247 | 1.2977 | 1.0572 | 0.091856 | 1.151 | 0.07317 | 17.3227 | 0.83349 | 0.14915 | 2.7703 | 3.1601 | 0.014239 | 0.80338 | 0 | 0 | 0 | 17.3227 | 18.2293
0 | 0 | Methanol | 0 | 6ppd-q | 0.075 | 0.071784 | 0.97887 | 0.17246 | 0.43166 | 0.099776 | 0 | 3.0065 | 0.10574 | 0.27748 | 0 | 0.012367 | 1.2782 | 0.4618 | 0.35988 | 0.31154 | 1.1702 | 0.91442 | 0.081586 | 0.9319 | 0.14753 | 12.9096 | 0.62225 | 0.1139 | 2.2101 | 2.8364 | 0.010225 | 0.66306 | 0 | 0 | 0.063351 | 12.973 | 13.7428
0 | 0 | Methanol | 0 | 6ppd-q | 0.075 | 0.071149 | 0.97021 | 0 | 0.4866 | 0.10087 | 0 | 3.2816 | 0.13486 | 0.30524 | 0 | 0.0060558 | 1.229 | 0.37863 | 0.28144 | 0.18891 | 1.1215 | 0.87044 | 0.073836 | 0.86251 | 0.12721 | 13.5079 | 0.66971 | 0.13762 | 2.4023 | 2.7973 | 0.011891 | 0.69349 | 0 | 0 | 0.060012 | 13.5679 | 14.3648
0 | 0 | Methanol | 0 | 6ppd-q | 0.075 | 0.072041 | 0.98238 | 0.19883 | 0.50651 | 0.12949 | 0 | 3.3835 | 0.12667 | 0.29977 | 0 | 0.032346 | 1.1978 | 0.35358 | 0.28797 | 0.1755 | 1.1219 | 0.83468 | 0.12042 | 1.0105 | 0.15758 | 13.4434 | 0.73194 | 0.11343 | 2.2805 | 2.4907 | 0.012736 | 0.69906 | 0 | 0 | 0 | 13.4434 | 14.3329
0 | 0 | 10 | 0 | 6ppd-q | 0.075 | 0.075854 | 1.0344 | 0 | 0.50169 | 0.11459 | 0 | 3.1661 | 0.12778 | 0.24572 | 0 | 0 | 1.3317 | 0.39991 | 0.32403 | 0.18226 | 1.0274 | 0.80537 | 0.10478 | 0.73028 | 0.083182 | 12.8108 | 0.68755 | 0.11287 | 2.1723 | 2.5351 | 0.015763 | 0.68895 | 0 | 0 | 0.053521 | 12.8643 | 13.635
0 | 0 | 10 | 0 | 6ppd-q | 0.05 | 0.13369 | 1.2153 | 0.35619 | 0.8137 | 0.17292 | 0 | 4.1308 | 0.13468 | 0.3557 | 0 | 0.019643 | 1.6766 | 0.57465 | 0.44379 | 0.24644 | 1.388 | 1.0113 | 0.10062 | 1.1363 | 0.26788 | 17.5807 | 0.74238 | 0.14258 | 3.0209 | 3.9785 | 0 | 0.98748 | 0 | 0 | 0.14261 | 17.7233 | 18.7336
0 | 0 | 10 | 0 | 6ppd-q | 0.05 | 0.16119 | 1.4653 | 0.25181 | 0.73771 | 0.113 | 0 | 2.9846 | 0.10997 | 0.31146 | 0 | 0.047444 | 1.0778 | 0.39611 | 0.29822 | 0.12303 | 1.0065 | 0.71968 | 0 | 0.86693 | 0 | 12.4351 | 0.46991 | 0 | 1.8386 | 2.4848 | 0 | 0.66421 | 0 | 0 | 0.1176 | 12.5527 | 13.0226
0 | 0 | 10 | 0 | 6ppd-q | 0.05 | 0.13411 | 1.2191 | 0 | 0.36669 | 0.073564 | 0 | 2.5135 | 0.021914 | 0.16669 | 0 | 0.011139 | 0.94863 | 0.31089 | 0.21869 | 0.1333 | 0.86263 | 0.67647 | 0 | 0.66637 | 0 | 10.2671 | 0.48123 | 0 | 1.8496 | 2.3665 | 0 | 0.59967 | 0 | 0 | 0 | 10.2671 | 10.7484
0 | 0 | 10 | 0 | 6ppd-q | 0.05 | 0.1066 | 0.96913 | 0.064489 | 0.31665 | 0.055113 | 0 | 2.4648 | 0.095394 | 0.25451 | 0 | 0 | 0.79655 | 0.25961 | 0.19484 | 0.10343 | 0.85179 | 0.65921 | 0.034528 | 0.71649 | 0 | 10.4894 | 0.43738 | 0.10412 | 1.7779 | 2.2524 | 0 | 0.53835 | 0 | 0 | 0 | 10.4894 | 10.9268
0 | 0 | 25 | 0 | 6ppd-q | 0.05 | 0.10682 | 0.97106 | 0.029854 | 0.32161 | 0.07468 | 0 | 2.5698 | 0.096201 | 0.2656 | 0 | 0 | 0.90598 | 0.35281 | 0.19903 | 0.09464 | 0.85901 | 0.65448 | 0.053412 | 0.73604 | 0 | 10.9351 | 0.40023 | 0.093484 | 1.8172 | 2.094 | 0 | 0.53652 | 0 | 0 | 0 | 10.9351 | 11.3353
0 | 0 | 25 | 0 | 6ppd-q | 0.05 | 0.10629 | 0.96623 | 0 | 0.24091 | 0.061493 | 0 | 1.868 | 0 | 0.18618 | 0 | 0 | 0.66948 | 0.2388 | 0.17014 | 0.065618 | 0.74874 | 0.64021 | 0.051798 | 0.65756 | 0 | 9.492 | 0.36068 | 0.14634 | 1.7208 | 2.1448 | 0 | 0.36962 | 0 | 0 | 0 | 9.492 | 9.8527
0 | 0 | 25 | 0 | 6ppd-q | 0.05 | 0.10443 | 0.94932 | 0 | 0.27677 | 0.076088 | 0 | 2.2425 | 0.074369 | 0.24952 | 0 | 0 | 0.89892 | 0.34087 | 0.25322 | 0.10054 | 0.91354 | 0.73782 | 0.036621 | 0.7656 | 0 | 10.4816 | 0.46854 | 0.10862 | 1.826 | 2.4235 | 0 | 0.55826 | 0 | 0 | 0 | 10.4816 | 10.9501
0 | 0 | 25 | 0 | 6ppd-q | 0.05 | 0.10304 | 0.93671 | 0 | 0.3368 | 0.052143 | 0 | 2.7385 | 0.10193 | 0.24274 | 0 | 0.0074763 | 0.93538 | 0.32785 | 0.19936 | 0.1282 | 0.8914 | 0.73352 | 0.06023 | 0.71347 | 0 | 11.0352 | 0.48044 | 0.090311 | 1.8911 | 2.3 | 0 | 0.56498 | 0 | 0 | 0 | 11.0352 | 11.5157
0 | 0 | 25 | 0 | 6ppd-q | 0.05 | 0.10271 | 0.93374 | 0.03502 | 0.3168 | 0.05939 | 0 | 2.4867 | 0.10982 | 0.27575 | 0 | 0 | 0.77174 | 0.31016 | 0.22748 | 0.071579 | 0.856 | 0.69391 | 0.053139 | 0.77007 | 0 | 10.7378 | 0.53239 | 0.092218 | 1.7378 | 2.2698 | 0 | 0.54092 | 0 | 0 | 0 | 10.7378 | 11.2702
0 | 0 | 50 | 0 | 6ppd-q | 0.05 | 0.10751 | 0.97735 | 0.057609 | 0.31836 | 0.060858 | 0 | 2.458 | 0.09039 | 0.21002 | 0 | 0 | 0.77868 | 0.27759 | 0.15876 | 0.077324 | 0.7012 | 0.5802 | 0 | 0.60126 | 0 | 9.6201 | 0.42374 | 0.069794 | 1.5686 | 1.9065 | 0 | 0.4125 | 0 | 0 | 0 | 9.6201 | 10.0438
0 | 0 | 50 | 0 | 6ppd-q | 0.05 | 0.11795 | 1.0723 | 0.14926 | 0.33351 | 0.04561 | 0 | 2.7178 | 0.11175 | 0.29175 | 0 | 0 | 1.0395 | 0.34447 | 0.25994 | 0.1368 | 1.0311 | 0.77032 | 0 | 0.82199 | 0 | 11.4715 | 0.50222 | 0.27454 | 2.0376 | 2.3734 | 0 | 0.55155 | 0 | 0 | 0 | 11.4715 | 11.9737
0 | 0 | 50 | 0 | 6ppd-q | 0.05 | 0.13907 | 1.2642 | 0.11331 | 0.33763 | 0.053077 | 0 | 2.519 | 0.11111 | 0.25386 | 0 | 0 | 0.94284 | 0.31339 | 0.23882 | 0.098338 | 0.87668 | 0.64653 | 0 | 0.78434 | 0 | 10.7376 | 0.51782 | 0 | 1.8077 | 2.2615 | 0 | 0.57725 | 0 | 0 | 0 | 10.7376 | 11.2554
0 | 0 | 50 | 0 | 6ppd-q | 0.05 | 0.10333 | 0.93932 | 0.065206 | 0.26105 | 0.050334 | 0 | 2.0726 | 0.07305 | 0.19028 | 0 | 0 | 0.80381 | 0.30121 | 0.18656 | 0.10254 | 0.73844 | 0.57218 | 0.033115 | 0.5585 | 0 | 8.8359 | 0.43403 | 0.085114 | 1.5342 | 1.923 | 0 | 0.4837 | 0 | 0 | 0 | 8.8359 | 9.2699
0 | 0 | 50 | 0 | 6ppd-q | 0.05 | 0.10417 | 0.94696 | 0 | 0.25315 | 0.058171 | 0 | 1.9912 | 0.082008 | 0.2022 | 0 | 0 | 0.77057 | 0.27521 | 0.17678 | 0.091588 | 0.75094 | 0.53928 | 0 | 0.54661 | 0 | 8.5387 | 0.39402 | 0.067737 | 1.4295 | 1.8334 | 0 | 0.44722 | 0 | 0 | 0 | 8.5387 | 8.9327
0 | 0 | 75 | 0 | 6ppd-q | 0.05 | 0.10492 | 0.9538 | 0.061073 | 0.29408 | 0.053367 | 0 | 2.3679 | 0.095502 | 0.2252 | 0 | 0 | 0.79702 | 0.29216 | 0.19768 | 0.083489 | 0.80431 | 0.62156 | 0 | 0.65694 | 0 | 9.6432 | 0.42498 | 0.080642 | 1.5888 | 1.9584 | 0.0092528 | 0.46263 | 0 | 0 | 0 | 9.6432 | 10.0682
0 | 0 | 75 | 0 | 6ppd-q | 0.05 | 0.10235 | 0.93046 | 0.066149 | 0.37225 | 0.071913 | 0 | 3.0255 | 0.12378 | 0.25645 | 0 | 0.0049304 | 1.1328 | 0.39737 | 0.28632 | 0.14676 | 0.90935 | 0.70094 | 0.063704 | 0.70843 | 0 | 11.5477 | 0.55137 | 0.085895 | 1.8667 | 2.5268 | 0.012559 | 0.59416 | 0 | 0 | 0 | 11.5477 | 12.099
0 | 0 | 75 | 0 | 6ppd-q | 0.05 | 0.10382 | 0.9438 | 0.13087 | 0.42163 | 0.061759 | 0 | 3.2736 | 0.12906 | 0.29715 | 0 | 0 | 1.011 | 0.39027 | 0.23316 | 0.10943 | 0.98182 | 0.76786 | 0.054584 | 0.81358 | 0 | 12.3105 | 0.58341 | 0.094547 | 2.0132 | 2.4722 | 0.013565 | 0.58841 | 0 | 0 | 0.040172 | 12.3507 | 12.9341
0 | 0 | 75 | 0 | 6ppd-q | 0.05 | 0.10675 | 0.97042 | 0 | 0.47439 | 0.090001 | 0 | 3.649 | 0.13596 | 0.25478 | 0 | 0.0052194 | 1.1938 | 0.38137 | 0.20918 | 0.13718 | 0.84667 | 0.72502 | 0.044338 | 0.73467 | 0 | 12.7744 | 0.6386 | 0.10184 | 1.9741 | 2.4817 | 0.009908 | 0.69263 | 0 | 0 | 0 | 12.7744 | 13.413
0 | 0 | 75 | 0 | 6ppd-q | 0.05 | 0.11041 | 1.0037 | 0.14075 | 0.43137 | 0.06162 | 0 | 3.1166 | 0.12445 | 0.26308 | 0 | 0 | 1.0655 | 0.36848 | 0.22526 | 0.09945 | 0.93189 | 0.77211 | 0.049292 | 0.75813 | 0 | 12.1602 | 0.61389 | 0.11034 | 2.0343 | 2.3746 | 0.010948 | 0.64595 | 0 | 0 | 0 | 12.1602 | 12.7741
0 | 0 | 100 | 0 | 6ppd-q | 0.05 | 0.11135 | 1.0123 | 0 | 0.32461 | 0.032878 | 0 | 2.3415 | 0.098072 | 0.2086 | 0 | 0 | 0.92388 | 0.33514 | 0.2037 | 0.11886 | 0.78896 | 0.71195 | 0 | 0.58618 | 0 | 9.7155 | 0.56809 | 0.089054 | 1.673 | 2.0278 | 0 | 0.54652 | 0 | 0 | 0 | 9.7155 | 10.2836
0 | 0 | 100 | 0 | 6ppd-q | 0.05 | 0.12284 | 1.1167 | 0.084011 | 0.4696 | 0.039125 | 0 | 3.1104 | 0.12963 | 0.26173 | 0 | 0 | 1.0606 | 0.36285 | 0.31866 | 0.12863 | 0.93909 | 0.70651 | 0 | 0.87067 | 0 | 11.9927 | 0.64545 | 0.10903 | 1.9344 | 2.2121 | 0 | 0.59383 | 0 | 0 | 0 | 11.9927 | 12.6382
0 | 0 | 100 | 0 | 6ppd-q | 0.05 | 0.10906 | 0.99143 | 0.065754 | 0.39004 | 0.033961 | 0 | 3.0388 | 0.11339 | 0.21503 | 0 | 0 | 1.1437 | 0.37836 | 0.26349 | 0.16819 | 0.81245 | 0.71426 | 0.076159 | 0.60957 | 0 | 10.8846 | 0.52846 | 0.084441 | 1.7558 | 2.3024 | 0 | 0.59026 | 0 | 0 | 0 | 10.8846 | 11.4131
0 | 0 | 100 | 0 | 6ppd-q | 0.05 | 0.10293 | 0.9357 | 0 | 0.38104 | 0.080371 | 0 | 2.9104 | 0.12015 | 0.24261 | 0 | 0.0036285 | 0.98853 | 0.33014 | 0.26631 | 0.11874 | 0.80726 | 0.70774 | 0.072209 | 0.72847 | 0 | 11.003 | 0.59043 | 0.088576 | 1.806 | 2.2577 | 0.012354 | 0.57618 | 0 | 0 | 0 | 11.003 | 11.5935
0 | 0 | 100 | 0 | 6ppd-q | 0.05 | 0.10601 | 0.96372 | 0 | 0.42175 | 0.039982 | 0 | 3.1876 | 0.12165 | 0.24349 | 0 | 0 | 0.89982 | 0.30742 | 0.20784 | 0.096134 | 0.7649 | 0.61837 | 0.061228 | 0.68523 | 0 | 11.4718 | 0.59662 | 0.11957 | 1.8204 | 2.0417 | 0.013438 | 0.56752 | 0 | 0 | 0 | 11.4718 | 12.0684
0 | 0 | 125 | 0 | 6ppd-q | 0.1 | 0.052928 | 0.96232 | 0.036739 | 0.19777 | 0.020494 | 0 | 1.5853 | 0.059594 | 0.10253 | 0 | 0 | 0.47741 | 0.17453 | 0.10459 | 0.062789 | 0.35297 | 0.30491 | 0.020849 | 0.28341 | 0 | 5.3829 | 0.28425 | 0.081996 | 0.87433 | 0.98592 | 0.0051878 | 0.29194 | 0 | 0 | 0 | 5.3829 | 5.6671
0 | 0 | 125 | 0 | 6ppd-q | 0.1 | 0.052009 | 0.94562 | 0 | 0.25754 | 0.036768 | 0 | 1.9381 | 0.070226 | 0.16287 | 0 | 0 | 0.56579 | 0.19957 | 0.14638 | 0.09788 | 0.55241 | 0.40586 | 0.017254 | 0.52374 | 0.088455 | 7.1323 | 0.38942 | 0.056432 | 1.1328 | 1.3642 | 0.010994 | 0.36238 | 0 | 0 | 0 | 7.1323 | 7.6101
0 | 0 | 125 | 0 | 6ppd-q | 0.05 | 0.10349 | 0.94082 | 0.089642 | 0.42873 | 0.060881 | 0 | 3.3567 | 0.13595 | 0.29131 | 0 | 0 | 1.1519 | 0.43387 | 0.28882 | 0.23088 | 1.0693 | 0.84345 | 0.035461 | 0.81016 | 0.15939 | 13.0414 | 0.76778 | 0.083017 | 2.0126 | 2.6873 | 0.019237 | 0.71968 | 0 | 0 | 0 | 13.0414 | 13.9686
0 | 0 | 125 | 0 | 6ppd-q | 0.05 | 0.1028 | 0.93454 | 0.049062 | 0.30622 | 0.054126 | 0 | 2.5404 | 0.10186 | 0.18655 | 0 | 0 | 0.96391 | 0.33471 | 0.18198 | 0.20154 | 0.7241 | 0.59509 | 0.069915 | 0.54652 | 0 | 9.5169 | 0.5685 | 0.067364 | 1.6218 | 2.1369 | 0.014392 | 0.53166 | 0 | 0 | 0 | 9.5169 | 10.0854
0 | 0 | 125 | 0 | 6ppd-q | 0.05 | 0.11473 | 1.043 | 0 | 0.3207 | 0.067078 | 0 | 2.4077 | 0.1011 | 0.21459 | 0 | 0 | 0.83319 | 0.34742 | 0.18068 | 0.1213 | 0.85131 | 0.69329 | 0 | 0.63361 | 0 | 9.8388 | 0.57992 | 0 | 1.7998 | 2.0986 | 0.017153 | 0.5844 | 0 | 0 | 0 | 9.8388 | 10.4187
Note on L9: (peak area * coeff / inject volume) * (extract volume/ sample volume) = ug/liter
Note on H13: Jay Pinckney: >1 = Dilution (higher acetone volume added or lower volume of carotenal added) <1 = Evaporation (lower acetone volume added or higher volume of carotenal added)
Note on I13: Chlorophyll c3
Note on J13: Chlorophyll c1c2
Note on K13: Peridinin
Note on L13: 19' Butanoyloxyfucoxanthin
Note on M13: Fucoxanthin
Note on N13: 19' Hexanoyloxyfucoxanthin
Note on O13: 9' cis-Neoxanthin
Note on P13: Prasinoxanthin
Note on Q13: Violaxanthin
Note on R13: Diadinoxanthin
Note on S13: Antheraxanthin
Note on T13: Alloxanthin
Note on U13: Diatoxanthin
Note on W13: Zeaxanthin
Note on X13: Gyroxanthin-diester
Note on Y13: Chlorophyll b
Note on Z13: Chlorophyll a Allomer
Note on AA13: Chlorophyll a + Divinyl Chl a
Note on AB13: Chlorophyll a'
Note on AK13: Chlorophyllide a
Note on AL13: Chl a + Divinyl Chl a + Chlide a
Note on AM13: Total Chl a + Chl a isomers

## Detection Limits
Effective Limits of Detection and Quantification
|  | LODeff | Effective Limit of Detection
|  | LOQeff | Effective Limit of Quantification
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
Sample
| Number | Chl c3 |  | Perid |  | 19'ButFuc |  | Fuco |  | 19'HexFuc |  | Neo |  | Viola |  | Diad |  | Allox |  | Diat |  | Lutein |  | Zeax |  | Gyro |  | Chl b |  | Chl a
|  | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff
| First Line of Data | 0.0042918 | 0.014306 | 0.0047053 | 0.015684 | 0.0047317 | 0.015772 | 0.0049581 | 0.016527 | 0.0036381 | 0.012127 | 0.0027796 | 0.0092652 | 0.0038457 | 0.012819 | 0.0033152 | 0.011051 | 0.0034608 | 0.011536 | 0.0041848 | 0.013949 | 0.003193 | 0.010643 | 0.0041968 | 0.013989 | 0.0033182 | 0.011061 | 0.015007 | 0.050024 | 0.011855 | 0.039517