## Coefficients
Standard Coefficients
COEFFICIENT TABLE
|  |  |  | E 1% | Estimated |  |  |  | Limit of | Limit of
Calibration Date = | 2024-02-21 |  | Pigment | λmax | Coefficient | Y intercept | λmax | Solvent | Quantification (ng) | Detection (ng) | Notes
Standard ID = | DHI Standards
|  |  | β,β Carotene | 2500 | 0.00023536 | 0 | 454 | acetone
|  |  | β,ε Carotene | 2700 | 0.00021792 | 0 | 448 | acetone
|  |  | β,ψ Carotene | 3185 | 0.00018474 | 0 | 459 | pet ether
E1% (1cm) = the extinction coefficient of a 1% solution in a 1 cm cuvette |  |  | ε,ε Carotene | 2900 | 0.0002029 | 0 | 440 | pet ether
|  |  | 19' but-Fuco | 1470 | 0.00013205 | 0 | 445 | acetone | 0.53769 | 0.16131
[pigment] (mg/L) = abs/(E1% * 0.0001) |  |  | 19' hex-Fuco | 1420 | 0.00014815 | 0 | 445 | acetone | 0.41342 | 0.12403
|  |  | Alloxanthin | 2500 | 7.7922e-05 | 0 | 454 | acetone | 0.39328 | 0.11798
E1% values obtained from Mantoura & Llewellyn 1983 |  |  | Antheraxanthin | 2350 | 0.00011915 | 0 | 446 | ethanol
| and Jeffrey et al. 1997 |  | Aphanizophyll |  | 0.00016859 | 0
|  |  | Astaxanthin | 2100 | 0.00010888 | 0 | 468 | hexane
|  |  | Bacteriochlorophyll a | 594 | 0.0094392 | 0 | 771 | acetone/methanol |  |  | Oelze 1985
Red coefficients were determined from standards |  |  | Canthaxanthin | 2200 | 0.00010393 | 0 | 466 | pet ether
All others were estimated using LC 10AD coefficients |  | 21 Feb 24 | Chlorophyll a | 876.7 | 0.00036505 | 0 | 664.3 | 90%acetone | 1.3472 | 0.40415
|  | Dec 21 | Chlorophyll b | 513.6 | 0.00045591 | 0 | 646.8 | 90%acetone | 1.7054 | 0.51161
|  |  | Chlorophyll c1c2 | 426 | 7.4207e-05 | 0 | 630.7 | 90%acetone | Estimated | Estimated | Estimated
|  |  | Chlorophyll c3 | 3460 | 0.00014362 | 0 | 452.9 | 90%acetone | 0.48771 | 0.14631
|  |  | Chlorophyllide a | 1270 | 0.00018166 | 0 | 664 | 90%acetone
|  |  | Chlorophyllide b | 740.7 | 0.000296 | 0 | 645 | 90%acetone
|  |  | Crocoxanthin | 2500 | 8.1206e-05 | 0 | 443 | ethanol
|  |  | Diadinochrome | 2500 | 7.6501e-05 | 0 | 428 | acetone
|  |  | Diadinoxanthin | 2250 | 9.1104e-05 | 0 | 444.5 | methanol | 0.37673 | 0.11302
|  |  | Diatoxanthin | 2100 | 0.00012482 | 0 | 452 | acetone | 0.47555 | 0.14266
|  |  | Dinoxanthin | 2100 | 9.6674e-05 | 0 | 442 | acetone
|  |  | Divinyl Chlorophyll a | 876.7 | 0.00040626 | 0 | 664.3 | 90%acetone | 0.94742 | 0.28423 | Assume equal to Chla
|  |  | Divinyl Chlorophyll b | 513.6 | 0.00042689 | 0 | 646.8 | 90%acetone |  |  | Assume equal to Chlb
|  |  | Echinenone | 2158 | 0.00024321 | 0 | 458 | pet ether
|  | Dec 21 | Fucoxanthin | 1660 | 0.00012096 | 0 | 443 | acetone | 0.56342 | 0.16903
|  |  | Gyroxanthin-diester | 2620 | 0.00017865 | 0 | 445 | ethanol | 0.37706 | 0.11312
|  |  | Lutein | 2550 | 0.00016679 | 0 | 445 | ethanol | 0.36284 | 0.10885
|  |  | Lycopene | 3446 | 0.00056603 | 0 | 474 | acetone
|  |  | Mg DVP | 589 | 0.00037224 | 0 | 623 | methanol
|  |  | Monadoxanthin | 2500 | 9.7068e-05 | 0 | 446 | diethyl ether
|  |  | Myxoxanthophyll | 2160 | 0.00017631 | 0 | 478 | acetone | 1.0391 | 0.31172 | Hirschberg & Chamovitz 1994
|  |  | Neoxanthin | 2270 | 0.00015528 | 0 | 438 | ethanol | 0.31586 | 0.094758
|  |  | P-457 | 1640 | 0.0011893 | 0 | 457 | acetone
|  | Dec 21 | Peridinin | 1340 | 0.00017348 | 0 | 466 | acetone | 0.53469 | 0.16041
|  |  | Pheophorbide a | 742 | 0.00045341 | 0 | 667 | 90%acetone
|  |  | Pheophorbide b | 463.7 | 0.00047283 | 0 | 657 | 90%acetone
|  |  | Pheophytin a | 512 | 0.00065709 | 0 | 667 | 90%acetone
|  |  | Pheophytin b | 318 | 0.00068946 | 0 | 657 | 90%acetone
|  |  | Prasinoxanthin | 2500 | 0.00021476 | 0 | 446 | diethyl ether
|  |  | Pyropheophytin a | 602.9 | 0.00055802 | 0 | 667 | diethyl ether
|  |  | Siphonaxanthin | 2500 | 7.6501e-05 | 0 | 445 | acetone
|  |  | Siphonein | 1920 | 0.0010159 | 0 | 462 | ethanol
|  |  | Vaucheriaxanthin | 2500 | 9.7068e-05 | 0 | 444 | acetone
|  |  | Violaxanthin | 2400 | 0.00012073 | 0 | 442 | acetone | 0.43702 | 0.1311
|  | Dec 21 | Zeaxanthin | 2340 | 8.5608e-05 | 0 | 452 | acetone | 0.47691 | 0.14307

## Internal Standard
Internal Standard Calculation Sheet
| HPLC | Acetone | Carotenal | Total Extract | Volume of
| Injection | Volume | Volume | Volume | IP
| Volume | Added | Added | added to Vial | added to Vial
| (µL) | (µL) | (µL) | (µL) | (µL)
| 200 | 750 | 50 | 400 | 100
Estimated Peak Area for Carotenal Standard Added |  |  |  | 528840
Note on D5: J Pinckney: Volume of 90% acetone used for the extraction…amount added to the tube and filter

## Peak Areas
Sample ID:
PEAK AREAS
[5 empty] | Sample | HPLC | Acetone + Carotenal | Extract | Ammonium
[5 empty] | Filtered | Injection | Added | Volume | Acetate
|  |  |  | Special | Volume | Volume | Volume | in Vial | Ratio
Number | Date | Station | Other | Notes | (Liters) | (µL) | (ml) | (µL) |  | Chl-ide a | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Carotenal | Chl b | Chla Allomer | Chl a | Chla prime | βε Carotene | ββ Carotene | Myxo | Croco | Echin | Astax | Myxo II
Blank Line
T0 A | 2024-05-22 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 0 | 48443 | 127199 | 3446 | 0 | 330709 | 0 | 0 | 0 | 23408 | 386276 | 0 | 155754 | 7758 | 8191 | 112133 | 0 | 515187 | 0 | 0 | 486980 | 14886 | 23035 | 77431 | 0 | 8078 | 4248
T0 B | 2024-05-22 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 0 | 0 | 104650 | 5911 | 0 | 365196 | 0 | 0 | 0 | 20701 | 415275 | 0 | 162400 | 9881 | 9247 | 118468 | 7990 | 555558 | 0 | 0 | 515200 | 16327 | 19481 | 75469 | 0 | 7586 | 4116
T0 C | 2024-05-22 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 0 | 0 | 113022 | 7930 | 0 | 327797 | 0 | 0 | 0 | 18101 | 365029 | 0 | 138859 | 8314 | 8292 | 96784 | 7445 | 447395 | 0 | 0 | 423039 | 13055 | 16780 | 69925 | 0 | 5584 | 3301
T0 D | 2024-05-22 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 10316 | 0 | 111844 | 3218 | 0 | 288732 | 0 | 0 | 0 | 15488 | 318593 | 0 | 120461 | 6281 | 7266 | 89970 | 5051 | 362853 | 0 | 0 | 352147 | 8853 | 14181 | 58136 | 0 | 5569 | 2879
T0 E | 2024-05-22 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 8741 | 0 | 94739 | 3153 | 0 | 242811 | 0 | 0 | 0 | 13526 | 270722 | 0 | 101668 | 4971 | 5777 | 74340 | 4255 | 349522 | 0 | 0 | 295392 | 6554 | 13317 | 46158 | 0 | 3903 | 2105
Control A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 15093 | 0 | 201702 | 7667 | 0 | 822997 | 0 | 0 | 0 | 58582 | 653047 | 0 | 186866 | 12577 | 42565 | 161297 | 7979 | 482242 | 13249 | 0 | 1018309 | 32261 | 32502 | 185083 | 0 | 9074 | 11026
Control B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 11746 | 14110 | 164177 | 7317 | 0 | 669553 | 493 | 0 | 0 | 58797 | 503551 | 0 | 216267 | 11638 | 46196 | 176262 | 8255 | 491587 | 15729 | 0 | 856578 | 27129 | 34615 | 158623 | 0 | 11806 | 9988
Control C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 0 | 15209 | 143497 | 9054 | 0 | 491635 | 1245 | 0 | 0 | 55000 | 335198 | 0 | 242384 | 6286 | 40537 | 168448 | 7444 | 547320 | 14921 | 0 | 719709 | 21499 | 38909 | 135020 | 0 | 13582 | 11290
Control D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 20895 | 17702 | 257197 | 9972 | 0 | 1054075 | 0 | 0 | 0 | 71635 | 817444 | 0 | 218938 | 11054 | 47916 | 179326 | 8732 | 535570 | 17743 | 0 | 1285623 | 46109 | 36341 | 210915 | 0 | 12764 | 12925
Control E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 51108 | 0 | 209818 | 40478 | 0 | 997049 | 765 | 0 | 0 | 70105 | 691029 | 0 | 185933 | 13472 | 45711 | 148284 | 6270 | 515844 | 17606 | 3782 | 757130 | 40007 | 35381 | 179333 | 0 | 13324 | 8772
Acetone A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 20746 | 20040 | 193940 | 8692 | 0 | 1003502 | 0 | 0 | 0 | 76452 | 786689 | 0 | 103378 | 11934 | 49884 | 164452 | 8061 | 515566 | 20321 | 0 | 1075841 | 34707 | 17758 | 203701 | 0 | 6354 | 8129
Acetone B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 22084 | 19943 | 243382 | 11789 | 0 | 1088644 | 470 | 0 | 0 | 89686 | 852250 | 0 | 141870 | 13579 | 58926 | 213863 | 11250 | 536603 | 21071 | 0 | 1276437 | 37536 | 22470 | 205867 | 0 | 10225 | 10391
Acetone C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 6690 | 9908 | 84553 | 7485 | 0 | 383238 | 1063 | 0 | 0 | 51424 | 238504 | 0 | 79259 | 4020 | 30344 | 157757 | 10519 | 492953 | 8939 | 0 | 462598 | 12924 | 11629 | 87903 | 0 | 4271 | 9088
Acetone D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 16397 | 11704 | 207255 | 1894 | 0 | 1035844 | 551 | 0 | 0 | 76929 | 794376 | 0 | 117075 | 11089 | 57317 | 221473 | 12015 | 544683 | 24202 | 0 | 1167455 | 37896 | 27313 | 210647 | 0 | 8057 | 10404
Acetone E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 26558 | 0 | 257313 | 10915 | 0 | 1220734 | 780 | 0 | 0 | 85071 | 895439 | 0 | 143212 | 9721 | 70052 | 233105 | 12250 | 540876 | 27144 | 0 | 1421951 | 44364 | 19264 | 212279 | 0 | 10326 | 8960
10 A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24241 | 0 | 263482 | 6008 | 0 | 1112964 | 0 | 0 | 0 | 73659 | 788612 | 0 | 190230 | 10733 | 58408 | 192426 | 9866 | 540352 | 23137 | 0 | 1282766 | 44785 | 28339 | 188161 | 0 | 9956 | 11798
10 B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 7554 | 11559 | 121622 | 5559 | 0 | 439927 | 0 | 0 | 0 | 51293 | 297325 | 0 | 184618 | 5100 | 36689 | 165334 | 8270 | 562502 | 15862 | 0 | 621375 | 19171 | 26173 | 111293 | 0 | 9124 | 10030
10 C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 23568 | 0 | 239090 | 10896 | 0 | 985003 | 0 | 0 | 0 | 66967 | 759155 | 0 | 210924 | 12614 | 47563 | 195096 | 9279 | 548859 | 21299 | 0 | 1156762 | 38866 | 28285 | 165494 | 0 | 11709 | 11395
10 D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 27430 | 0 | 287259 | 4700 | 0 | 1186111 | 0 | 0 | 0 | 82370 | 787030 | 0 | 236019 | 13149 | 62331 | 222339 | 9539 | 548444 | 28115 | 0 | 1382300 | 44637 | 38448 | 220660 | 0 | 14049 | 11442
10 E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 30976 | 0 | 308184 | 4227 | 0 | 1336887 | 0 | 0 | 0 | 89904 | 1017732 | 0 | 240946 | 16031 | 64482 | 196192 | 8916 | 554614 | 26397 | 0 | 1553336 | 54733 | 37752 | 235887 | 0 | 14145 | 11531
25 A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 26101 | 0 | 283451 | 11045 | 0 | 1202557 | 0 | 0 | 0 | 84638 | 884912 | 0 | 242155 | 14870 | 56248 | 196258 | 8562 | 561994 | 24165 | 0 | 1402787 | 48515 | 39666 | 216029 | 0 | 13227 | 13433
25 B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24970 | 0 | 280391 | 11352 | 0 | 1153597 | 0 | 0 | 0 | 83234 | 912754 | 0 | 262081 | 13419 | 55126 | 198907 | 9050 | 548711 | 23195 | 0 | 1388863 | 45626 | 32971 | 186823 | 0 | 13637 | 11146
25 C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25679 | 0 | 300585 | 12895 | 0 | 1237543 | 0 | 0 | 0 | 77131 | 895504 | 0 | 293332 | 9564 | 52773 | 195191 | 8788 | 550463 | 20556 | 0 | 1451915 | 50575 | 37467 | 205925 | 0 | 14952 | 10693
25 D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 22957 | 0 | 275759 | 3418 | 0 | 1201002 | 0 | 0 | 0 | 77494 | 923069 | 0 | 227106 | 16642 | 58929 | 211269 | 9945 | 547121 | 23047 | 0 | 1377994 | 54788 | 28575 | 176429 | 0 | 12576 | 5250
25 E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 26795 | 0 | 281762 | 10191 | 0 | 1215387 | 0 | 0 | 0 | 78401 | 880545 | 0 | 260216 | 14212 | 58768 | 212832 | 10822 | 546168 | 24239 | 0 | 1409068 | 60211 | 29366 | 165527 | 0 | 14570 | 10259
50 A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 28202 | 0 | 271970 | 12604 | 0 | 1196899 | 0 | 0 | 0 | 86209 | 918518 | 0 | 203469 | 13868 | 61698 | 212368 | 10636 | 561798 | 25396 | 0 | 1385573 | 53423 | 32887 | 217202 | 0 | 11726 | 9459
50 B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24072 | 0 | 255956 | 12121 | 0 | 1152675 | 0 | 0 | 0 | 89461 | 898483 | 0 | 182065 | 13097 | 64468 | 207381 | 9792 | 568053 | 22746 | 0 | 1326908 | 45318 | 18659 | 187535 | 0 | 9676 | 5829
50 C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25344 | 15504 | 267517 | 9005 | 0 | 1217516 | 0 | 0 | 0 | 97607 | 953569 | 0 | 186531 | 13844 | 62104 | 206905 | 8482 | 562470 | 25303 | 0 | 1416680 | 52028 | 26887 | 211662 | 0 | 9826 | 13356
50 D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25273 | 0 | 255851 | 8528 | 0 | 1243087 | 0 | 0 | 0 | 100993 | 902766 | 0 | 136690 | 12494 | 61481 | 197284 | 9029 | 556763 | 24050 | 0 | 1389386 | 50016 | 19154 | 186967 | 0 | 7573 | 10111
50 E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25705 | 0 | 284620 | 2736 | 0 | 1209468 | 0 | 0 | 0 | 85378 | 863189 | 0 | 207971 | 10132 | 54991 | 189246 | 8174 | 553411 | 24604 | 0 | 1408661 | 50067 | 28878 | 204027 | 0 | 12192 | 9630
75 A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25047 | 21228 | 270606 | 11798 | 0 | 1176114 | 0 | 0 | 0 | 85860 | 873686 | 0 | 130962 | 10579 | 60967 | 200129 | 8810 | 561931 | 22521 | 0 | 1321170 | 50776 | 13438 | 183191 | 0 | 8336 | 12821
75 B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24388 | 22663 | 295150 | 10999 | 0 | 1276995 | 0 | 0 | 0 | 83517 | 915713 | 0 | 158726 | 11016 | 56955 | 197872 | 9077 | 573236 | 21646 | 0 | 1414626 | 59458 | 23645 | 196972 | 0 | 9109 | 12246
75 C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 27956 | 21595 | 285087 | 9884 | 0 | 1237994 | 0 | 0 | 0 | 85021 | 861203 | 0 | 158302 | 9726 | 59854 | 203333 | 9157 | 566097 | 26272 | 0 | 1380873 | 58486 | 21162 | 170443 | 0 | 8185 | 10612
75 D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24989 | 0 | 241154 | 8996 | 0 | 1153369 | 0 | 0 | 0 | 82642 | 841185 | 0 | 99586 | 10077 | 58798 | 202251 | 9198 | 566315 | 22126 | 0 | 1287251 | 52709 | 17687 | 210229 | 0 | 4773 | 13303
75 E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 26013 | 17947 | 247042 | 8622 | 0 | 1157538 | 0 | 0 | 0 | 86815 | 877791 | 0 | 116036 | 12652 | 63285 | 207962 | 10873 | 565936 | 24908 | 0 | 1311451 | 52435 | 18702 | 213870 | 0 | 6515 | 12021
100 A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 23376 | 17818 | 253884 | 10219 | 0 | 1115125 | 0 | 0 | 0 | 92301 | 852840 | 0 | 138951 | 11048 | 58997 | 206199 | 11316 | 579825 | 16066 | 0 | 1275845 | 50703 | 17854 | 179614 | 0 | 7507 | 13497
100 B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 23196 | 16732 | 273013 | 2235 | 0 | 1164736 | 0 | 0 | 0 | 94259 | 937595 | 0 | 148899 | 11691 | 63420 | 207455 | 8366 | 568190 | 23108 | 0 | 1364452 | 54895 | 27952 | 190032 | 0 | 8040 | 13586
100 C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 28106 | 20813 | 291257 | 8759 | 0 | 1157605 | 0 | 0 | 0 | 98737 | 880758 | 0 | 166450 | 9877 | 61848 | 205389 | 6226 | 564482 | 23688 | 0 | 1370947 | 57512 | 23057 | 179043 | 0 | 9495 | 12448
100 D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 27977 | 16017 | 295620 | 1034 | 0 | 1180934 | 0 | 0 | 0 | 97790 | 897188 | 0 | 126981 | 8859 | 56742 | 206250 | 7622 | 561222 | 22811 | 0 | 1367148 | 60173 | 15916 | 155067 | 0 | 6382 | 12769
100 E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 26289 | 18084 | 278755 | 8998 | 0 | 1167549 | 0 | 0 | 0 | 99747 | 875376 | 0 | 127322 | 7831 | 65244 | 208013 | 7149 | 567008 | 26810 | 0 | 1356168 | 64808 | 18623 | 188808 | 0 | 6137 | 13171
125 A | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25954 | 18769 | 265515 | 8053 | 0 | 1082425 | 0 | 0 | 0 | 94896 | 847971 | 0 | 112237 | 8295 | 59819 | 224007 | 8583 | 556308 | 24783 | 0 | 1249428 | 60370 | 14905 | 153728 | 0 | 6648 | 9644
125 B | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24108 | 18090 | 255912 | 7110 | 0 | 1073718 | 0 | 0 | 0 | 92085 | 764041 | 0 | 110176 | 9015 | 61242 | 214663 | 8954 | 552058 | 24874 | 0 | 1254952 | 58360 | 15640 | 180015 | 0 | 6162 | 12779
125 C | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24936 | 18006 | 263009 | 7834 | 0 | 1085159 | 409 | 0 | 0 | 99710 | 814458 | 0 | 111644 | 8872 | 61468 | 216792 | 8835 | 561086 | 25563 | 0 | 1274252 | 59323 | 15548 | 194155 | 0 | 6720 | 13154
125 D | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 25842 | 20247 | 272241 | 5647 | 0 | 1114160 | 0 | 0 | 0 | 100989 | 878990 | 0 | 137531 | 8646 | 65577 | 213688 | 9228 | 563232 | 25915 | 0 | 1305760 | 59500 | 15632 | 158573 | 0 | 7509 | 13096
125 E | 2024-05-25 |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 24779 | 0 | 276691 | 4500 | 0 | 1162324 | 0 | 0 | 0 | 103960 | 869578 | 0 | 114015 | 6857 | 60629 | 197734 | 8697 | 554016 | 24941 | 0 | 1348495 | 57939 | 15435 | 183054 | 0 | 5971 | 5314
Note on F6: The total volume of water filtered through the filter(s) in the microfuge tube
Note on H6: Volume of acetone added to the microfuge tube for extraction + volume of carotenal added
Note on I6: Volume of extract placed in the HPLC sample vial
Note on J9: Acetone + AmAc (ml) / Acetone (ml)

## ug_liter
HPLC PHOTOPIGMENT ANALYSIS FACILITY
BARUCH INSTITUTE FOR MARINE AND COASTAL SCIENCES
UNIVERSITY OF SOUTH CAROLINA | [8 empty] | Protocols and Methods Link
COLUMBIA, SC 29208 USA | [8 empty] | Technical Description of Methods Link
PINCKNEY@SC.EDU |  | (803) 777.7133
| Sample ID: | 0
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
0 Concentrations Indicate "Below Limits of Detection"
[5 empty] | Sample | Volume | Internal Std
Number | Date | Station | Other | Notes | Volume (L) | Constants | Constant | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Chl b | Chla Allomer | Chl a | Chla prime | α Carotene | β Carotene | Myxo | Croco | Echin | Astax | Myxo II | Chl-ide a | Total Chl a | ALL Chl a
T0 A | 2024-05-22 | 0 | 0 | 0 | 0.15 | 0.036355 | 1.0265 | 0.25294 | 0.34316 | 0.021734 | 0 | 1.4543 | 0 | 0 | 0 | 0.10274 | 1.2794 | 0 | 0.44123 | 0.035206 | 0.049668 | 0.34899 | 0 | 0 | 0 | 6.4629 | 0.19756 | 0.1825 | 0.66255 | 0 | 0.023849 | 0.037561 | 0 | 0 | 0 | 6.4629 | 6.6605
T0 B | 2024-05-22 | 0 | 0 | 0 | 0.15 | 0.033713 | 0.95191 | 0 | 0.26181 | 0.034572 | 0 | 1.4893 | 0 | 0 | 0 | 0.084258 | 1.2755 | 0 | 0.42663 | 0.041582 | 0.051997 | 0.34191 | 0.048123 | 0 | 0 | 6.3406 | 0.20094 | 0.14313 | 0.59884 | 0 | 0.020769 | 0.033749 | 0 | 0 | 0 | 6.3406 | 6.5415
T0 C | 2024-05-22 | 0 | 0 | 0 | 0.15 | 0.041864 | 1.182 | 0 | 0.35112 | 0.057593 | 0 | 1.6599 | 0 | 0 | 0 | 0.091487 | 1.3922 | 0 | 0.45298 | 0.043446 | 0.0579 | 0.34686 | 0.055681 | 0 | 0 | 6.4651 | 0.19951 | 0.15309 | 0.68899 | 0 | 0.018984 | 0.03361 | 0 | 0 | 0 | 6.4651 | 6.6646
T0 D | 2024-05-22 | 0 | 0 | 0 | 0.15 | 0.051618 | 1.4574 | 0 | 0.42841 | 0.028817 | 0 | 1.8028 | 0 | 0 | 0 | 0.096519 | 1.4982 | 0 | 0.48452 | 0.04047 | 0.062556 | 0.39757 | 0.046578 | 0 | 0 | 6.6356 | 0.16682 | 0.15952 | 0.70629 | 0 | 0.023344 | 0.036143 | 0 | 0 | 0.096735 | 6.7323 | 6.8991
T0 E | 2024-05-22 | 0 | 0 | 0 | 0.15 | 0.053587 | 1.513 | 0 | 0.37673 | 0.029312 | 0 | 1.5739 | 0 | 0 | 0 | 0.087507 | 1.3217 | 0 | 0.42452 | 0.033251 | 0.051634 | 0.34103 | 0.040734 | 0 | 0 | 5.7784 | 0.12821 | 0.15551 | 0.58216 | 0 | 0.016984 | 0.027434 | 0 | 0 | 0.085092 | 5.8635 | 5.9917
Control A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.038839 | 1.0966 | 0 | 0.58133 | 0.05166 | 0 | 3.8664 | 0 | 0 | 0 | 0.27469 | 2.3107 | 0 | 0.56553 | 0.060974 | 0.27574 | 0.5363 | 0.055362 | 0.2346 | 0 | 14.4377 | 0.4574 | 0.27509 | 1.6919 | 0 | 0.028619 | 0.10415 | 0 | 0 | 0.10649 | 14.5442 | 15.0016
Control B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.038101 | 1.0758 | 0.077211 | 0.46418 | 0.048364 | 0 | 3.0858 | 0.0027828 | 0 | 0 | 0.27046 | 1.7479 | 0 | 0.64207 | 0.055349 | 0.29357 | 0.57491 | 0.056189 | 0.27322 | 0 | 11.9138 | 0.37733 | 0.28741 | 1.4224 | 0 | 0.036528 | 0.092553 | 0 | 0 | 0.0813 | 11.9951 | 12.3724
Control C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034221 | 0.96624 | 0.07475 | 0.3644 | 0.053751 | 0 | 2.0351 | 0.006312 | 0 | 0 | 0.22723 | 1.045 | 0 | 0.64633 | 0.026851 | 0.23138 | 0.49348 | 0.045509 | 0.23279 | 0 | 8.9908 | 0.26857 | 0.29016 | 1.0875 | 0 | 0.037744 | 0.093965 | 0 | 0 | 0 | 8.9908 | 9.2594
Control D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034972 | 0.98743 | 0.088912 | 0.66747 | 0.0605 | 0 | 4.459 | 0 | 0 | 0 | 0.30245 | 2.6044 | 0 | 0.59662 | 0.048254 | 0.27949 | 0.53687 | 0.054554 | 0.28289 | 0 | 16.4128 | 0.58865 | 0.27696 | 1.736 | 0 | 0.036249 | 0.10993 | 0 | 0 | 0.13275 | 16.5455 | 17.1342
Control E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.036309 | 1.0252 | 0 | 0.56533 | 0.25497 | 0 | 4.379 | 0.0041151 | 0 | 0 | 0.30731 | 2.2858 | 0 | 0.52606 | 0.061058 | 0.27683 | 0.46091 | 0.040671 | 0.29144 | 0.050129 | 10.0354 | 0.53028 | 0.27995 | 1.5325 | 0 | 0.039286 | 0.077463 | 0 | 0 | 0.33711 | 10.3726 | 10.953
Acetone A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.036329 | 1.0257 | 0.10456 | 0.52283 | 0.054781 | 0 | 4.4097 | 0 | 0 | 0 | 0.33532 | 2.6037 | 0 | 0.29264 | 0.054117 | 0.30226 | 0.51145 | 0.052316 | 0.33657 | 0 | 14.2675 | 0.46027 | 0.14059 | 1.7417 | 0 | 0.018745 | 0.071823 | 0 | 0 | 0.13692 | 14.4044 | 14.8647
Acetone B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034904 | 0.98553 | 0.099975 | 0.6304 | 0.071386 | 0 | 4.5963 | 0.0024304 | 0 | 0 | 0.37794 | 2.7101 | 0 | 0.38586 | 0.059162 | 0.34305 | 0.63904 | 0.07015 | 0.33531 | 0 | 16.2641 | 0.47828 | 0.17092 | 1.6912 | 0 | 0.028982 | 0.08821 | 0 | 0 | 0.14003 | 16.4042 | 16.8824
Acetone C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.037995 | 1.0728 | 0.054067 | 0.2384 | 0.049338 | 0 | 1.7613 | 0.0059837 | 0 | 0 | 0.23589 | 0.82558 | 0 | 0.23466 | 0.019066 | 0.1923 | 0.51313 | 0.0714 | 0.15484 | 0 | 6.4163 | 0.17926 | 0.096288 | 0.78608 | 0 | 0.013178 | 0.08398 | 0 | 0 | 0.046177 | 6.4624 | 6.6417
Acetone D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034387 | 0.97091 | 0.057802 | 0.52886 | 0.011299 | 0 | 4.3085 | 0.002807 | 0 | 0 | 0.31937 | 2.4886 | 0 | 0.3137 | 0.047597 | 0.32874 | 0.65196 | 0.073809 | 0.37942 | 0 | 14.6548 | 0.4757 | 0.20467 | 1.7048 | 0 | 0.022498 | 0.08701 | 0 | 0 | 0.10243 | 14.7573 | 15.233
Acetone E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034629 | 0.97775 | 0 | 0.66122 | 0.065572 | 0 | 5.1133 | 0.0040016 | 0 | 0 | 0.35566 | 2.8249 | 0 | 0.38643 | 0.042019 | 0.4046 | 0.69103 | 0.075783 | 0.42854 | 0 | 17.9751 | 0.56081 | 0.14537 | 1.7301 | 0 | 0.029037 | 0.075461 | 0 | 0 | 0.16707 | 18.1422 | 18.703
10 A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034662 | 0.9787 | 0 | 0.67772 | 0.036128 | 0 | 4.6664 | 0 | 0 | 0 | 0.30825 | 2.4903 | 0 | 0.5138 | 0.046438 | 0.33768 | 0.57099 | 0.061094 | 0.36563 | 0 | 16.2314 | 0.56668 | 0.21406 | 1.5351 | 0 | 0.028024 | 0.099459 | 0 | 0 | 0.15264 | 16.384 | 16.9507
10 B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033297 | 0.94016 | 0.055278 | 0.30052 | 0.032112 | 0 | 1.7719 | 0 | 0 | 0 | 0.2062 | 0.90194 | 0 | 0.47901 | 0.021197 | 0.20376 | 0.47128 | 0.049194 | 0.24079 | 0 | 7.5529 | 0.23303 | 0.18992 | 0.87219 | 0 | 0.024671 | 0.081225 | 0 | 0 | 0.045694 | 7.5986 | 7.8316
10 C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034125 | 0.96353 | 0 | 0.60545 | 0.064506 | 0 | 4.0659 | 0 | 0 | 0 | 0.2759 | 2.3601 | 0 | 0.56087 | 0.053731 | 0.27072 | 0.56994 | 0.056568 | 0.33137 | 0 | 14.4101 | 0.48416 | 0.21034 | 1.3292 | 0 | 0.032448 | 0.094573 | 0 | 0 | 0.1461 | 14.5562 | 15.0404
10 D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034151 | 0.96426 | 0 | 0.72798 | 0.027846 | 0 | 4.8997 | 0 | 0 | 0 | 0.33961 | 2.4487 | 0 | 0.62807 | 0.056052 | 0.35504 | 0.65002 | 0.058197 | 0.43774 | 0 | 17.2327 | 0.55648 | 0.28614 | 1.7736 | 0 | 0.038961 | 0.095035 | 0 | 0 | 0.17017 | 17.4029 | 17.9594
10 E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033771 | 0.95353 | 0 | 0.77232 | 0.024765 | 0 | 5.4611 | 0 | 0 | 0 | 0.36655 | 3.1312 | 0 | 0.63405 | 0.067577 | 0.36321 | 0.5672 | 0.053791 | 0.40642 | 0 | 19.1496 | 0.67475 | 0.27783 | 1.8749 | 0 | 0.038791 | 0.094709 | 0 | 0 | 0.19004 | 19.3396 | 20.0144
25 A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033327 | 0.94101 | 0 | 0.70101 | 0.063859 | 0 | 4.8479 | 0 | 0 | 0 | 0.34055 | 2.6868 | 0 | 0.62886 | 0.06186 | 0.31267 | 0.55994 | 0.050977 | 0.36717 | 0 | 17.0665 | 0.59024 | 0.28808 | 1.6945 | 0 | 0.035797 | 0.10888 | 0 | 0 | 0.15803 | 17.2245 | 17.8148
25 B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034134 | 0.96379 | 0 | 0.71023 | 0.067223 | 0 | 4.7631 | 0 | 0 | 0 | 0.34301 | 2.8384 | 0 | 0.69708 | 0.057175 | 0.31385 | 0.58123 | 0.055187 | 0.36096 | 0 | 17.3061 | 0.56853 | 0.24526 | 1.5009 | 0 | 0.0378 | 0.092531 | 0 | 0 | 0.15484 | 17.461 | 18.0295
25 C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034025 | 0.96072 | 0 | 0.75896 | 0.076118 | 0 | 5.0934 | 0 | 0 | 0 | 0.31685 | 2.7759 | 0 | 0.77772 | 0.04062 | 0.2995 | 0.56856 | 0.053419 | 0.31888 | 0 | 18.0342 | 0.62819 | 0.27781 | 1.6491 | 0 | 0.041314 | 0.088488 | 0 | 0 | 0.15873 | 18.1929 | 18.8211
25 D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034233 | 0.96659 | 0 | 0.70053 | 0.020299 | 0 | 4.9732 | 0 | 0 | 0 | 0.32028 | 2.8789 | 0 | 0.60581 | 0.071113 | 0.33647 | 0.61915 | 0.060821 | 0.3597 | 0 | 17.2206 | 0.68468 | 0.21318 | 1.4215 | 0 | 0.034961 | 0.043711 | 0 | 0 | 0.14277 | 17.3634 | 18.048
25 E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.034293 | 0.96827 | 0 | 0.71703 | 0.060629 | 0 | 5.0416 | 0 | 0 | 0 | 0.3246 | 2.751 | 0 | 0.69535 | 0.060836 | 0.33614 | 0.62482 | 0.0663 | 0.37897 | 0 | 17.6397 | 0.75376 | 0.21946 | 1.336 | 0 | 0.040575 | 0.085564 | 0 | 0 | 0.16693 | 17.8066 | 18.5603
50 A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033339 | 0.94133 | 0 | 0.67285 | 0.072899 | 0 | 4.8267 | 0 | 0 | 0 | 0.34699 | 2.7898 | 0 | 0.52858 | 0.057712 | 0.34308 | 0.60611 | 0.063347 | 0.38601 | 0 | 16.863 | 0.65018 | 0.23893 | 1.7043 | 0 | 0.031746 | 0.076697 | 0 | 0 | 0.17081 | 17.0338 | 17.6839
50 B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.032972 | 0.93097 | 0 | 0.62626 | 0.069333 | 0 | 4.5972 | 0 | 0 | 0 | 0.35612 | 2.6989 | 0 | 0.46777 | 0.053903 | 0.35454 | 0.58536 | 0.057678 | 0.34192 | 0 | 15.9712 | 0.54546 | 0.13407 | 1.4553 | 0 | 0.025908 | 0.046743 | 0 | 0 | 0.14419 | 16.1153 | 16.6608
50 C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033299 | 0.94021 | 0.074148 | 0.66105 | 0.052021 | 0 | 4.904 | 0 | 0 | 0 | 0.3924 | 2.8928 | 0 | 0.484 | 0.057543 | 0.34493 | 0.58982 | 0.050458 | 0.38413 | 0 | 17.2209 | 0.63244 | 0.19511 | 1.6589 | 0 | 0.026571 | 0.10817 | 0 | 0 | 0.15331 | 17.3742 | 18.0067
50 D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.03364 | 0.94985 | 0 | 0.6387 | 0.04977 | 0 | 5.0583 | 0 | 0 | 0 | 0.41018 | 2.7668 | 0 | 0.35831 | 0.052464 | 0.34497 | 0.56815 | 0.054263 | 0.36886 | 0 | 17.0623 | 0.61422 | 0.14042 | 1.4803 | 0 | 0.020688 | 0.082725 | 0 | 0 | 0.15445 | 17.2167 | 17.8309
50 E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033844 | 0.9556 | 0 | 0.71482 | 0.016064 | 0 | 4.9514 | 0 | 0 | 0 | 0.34886 | 2.6615 | 0 | 0.54846 | 0.042803 | 0.31042 | 0.54831 | 0.049422 | 0.37964 | 0 | 17.4038 | 0.61857 | 0.21299 | 1.6252 | 0 | 0.033508 | 0.079267 | 0 | 0 | 0.15804 | 17.5618 | 18.1804
75 A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033331 | 0.94111 | 0.10162 | 0.66932 | 0.068221 | 0 | 4.7418 | 0 | 0 | 0 | 0.34551 | 2.653 | 0 | 0.34014 | 0.044014 | 0.33894 | 0.57105 | 0.05246 | 0.34223 | 0 | 16.0753 | 0.61782 | 0.097608 | 1.4371 | 0 | 0.022563 | 0.10393 | 0 | 0 | 0.15166 | 16.227 | 16.8448
75 B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.032674 | 0.92255 | 0.10635 | 0.71563 | 0.062346 | 0 | 5.047 | 0 | 0 | 0 | 0.32945 | 2.7258 | 0 | 0.40412 | 0.044928 | 0.31039 | 0.55347 | 0.052983 | 0.32244 | 0 | 16.873 | 0.70919 | 0.16836 | 1.5147 | 0 | 0.024169 | 0.097314 | 0 | 0 | 0.14476 | 17.0178 | 17.727
75 C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033086 | 0.93419 | 0.10262 | 0.69995 | 0.056733 | 0 | 4.9546 | 0 | 0 | 0 | 0.33961 | 2.5959 | 0 | 0.40812 | 0.040167 | 0.3303 | 0.57592 | 0.054124 | 0.39629 | 0 | 16.6781 | 0.70639 | 0.15258 | 1.3273 | 0 | 0.021991 | 0.085392 | 0 | 0 | 0.16803 | 16.8462 | 17.5525
75 D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033073 | 0.93383 | 0 | 0.59186 | 0.051616 | 0 | 4.6141 | 0 | 0 | 0 | 0.32998 | 2.5346 | 0 | 0.25665 | 0.041601 | 0.32435 | 0.57263 | 0.054346 | 0.33362 | 0 | 15.5414 | 0.63637 | 0.12748 | 1.6365 | 0 | 0.012819 | 0.10701 | 0 | 0 | 0.15014 | 15.6915 | 16.3279
75 E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033095 | 0.93445 | 0.085306 | 0.60671 | 0.049503 | 0 | 4.6339 | 0 | 0 | 0 | 0.34688 | 2.6466 | 0 | 0.29924 | 0.052266 | 0.34933 | 0.5892 | 0.064286 | 0.37582 | 0 | 15.8442 | 0.63349 | 0.13488 | 1.6659 | 0 | 0.017509 | 0.096758 | 0 | 0 | 0.1564 | 16.0006 | 16.634
100 A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.032302 | 0.91207 | 0.082664 | 0.60858 | 0.057267 | 0 | 4.3572 | 0 | 0 | 0 | 0.35996 | 2.5098 | 0 | 0.34975 | 0.044547 | 0.31786 | 0.57021 | 0.065302 | 0.2366 | 0 | 15.0448 | 0.59789 | 0.12568 | 1.3656 | 0 | 0.019692 | 0.10604 | 0 | 0 | 0.13718 | 15.1819 | 15.7798
100 B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.032964 | 0.93074 | 0.079215 | 0.66783 | 0.012781 | 0 | 4.6442 | 0 | 0 | 0 | 0.37513 | 2.8157 | 0 | 0.38246 | 0.048105 | 0.34869 | 0.58543 | 0.049267 | 0.34728 | 0 | 16.4191 | 0.66058 | 0.2008 | 1.4744 | 0 | 0.021522 | 0.10892 | 0 | 0 | 0.13891 | 16.558 | 17.2186
100 C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.03318 | 0.93686 | 0.099183 | 0.71714 | 0.050419 | 0 | 4.6461 | 0 | 0 | 0 | 0.39553 | 2.6624 | 0 | 0.43036 | 0.040908 | 0.34228 | 0.58341 | 0.036905 | 0.35834 | 0 | 16.6056 | 0.69661 | 0.16672 | 1.3982 | 0 | 0.025584 | 0.10045 | 0 | 0 | 0.16941 | 16.775 | 17.4716
100 D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033373 | 0.9423 | 0.076772 | 0.73211 | 0.0059866 | 0 | 4.7673 | 0 | 0 | 0 | 0.39401 | 2.7278 | 0 | 0.33022 | 0.036905 | 0.31585 | 0.58926 | 0.045443 | 0.34707 | 0 | 16.6558 | 0.73308 | 0.11575 | 1.218 | 0 | 0.017296 | 0.10364 | 0 | 0 | 0.16962 | 16.8254 | 17.5585
100 E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033033 | 0.93269 | 0.085795 | 0.6833 | 0.051564 | 0 | 4.6651 | 0 | 0 | 0 | 0.3978 | 2.6344 | 0 | 0.32772 | 0.032289 | 0.35947 | 0.58823 | 0.042188 | 0.40376 | 0 | 16.3534 | 0.78149 | 0.13406 | 1.4679 | 0 | 0.016462 | 0.10581 | 0 | 0 | 0.15776 | 16.5112 | 17.2927
125 A | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033668 | 0.95062 | 0.090757 | 0.66337 | 0.047036 | 0 | 4.4082 | 0 | 0 | 0 | 0.38573 | 2.601 | 0 | 0.29445 | 0.03486 | 0.33592 | 0.64564 | 0.051624 | 0.38041 | 0 | 15.3561 | 0.74198 | 0.10936 | 1.2182 | 0 | 0.018176 | 0.078969 | 0 | 0 | 0.15874 | 15.5148 | 16.2568
125 B | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033927 | 0.95794 | 0.088147 | 0.6443 | 0.041848 | 0 | 4.4064 | 0 | 0 | 0 | 0.37718 | 2.3616 | 0 | 0.29127 | 0.038178 | 0.34655 | 0.62347 | 0.05427 | 0.38474 | 0 | 15.5427 | 0.72279 | 0.11563 | 1.4375 | 0 | 0.016977 | 0.10544 | 0 | 0 | 0.14859 | 15.6913 | 16.4141
125 C | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033381 | 0.94253 | 0.086326 | 0.65151 | 0.045368 | 0 | 4.3817 | 0.0020227 | 0 | 0 | 0.40184 | 2.4769 | 0 | 0.2904 | 0.036968 | 0.34224 | 0.61952 | 0.052688 | 0.38904 | 0 | 15.5278 | 0.7229 | 0.1131 | 1.5254 | 0 | 0.018216 | 0.10679 | 0 | 0 | 0.15122 | 15.679 | 16.4019
125 D | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033254 | 0.93894 | 0.0967 | 0.67181 | 0.032578 | 0 | 4.4816 | 0 | 0 | 0 | 0.40545 | 2.663 | 0 | 0.35637 | 0.035889 | 0.36372 | 0.60833 | 0.054822 | 0.39289 | 0 | 15.8511 | 0.72229 | 0.11328 | 1.2411 | 0 | 0.020278 | 0.10592 | 0 | 0 | 0.15611 | 16.0072 | 16.7295
125 E | 2024-05-25 | 0 | 0 | 0 | 0.15 | 0.033807 | 0.95456 | 0 | 0.69415 | 0.026393 | 0 | 4.7532 | 0 | 0 | 0 | 0.42432 | 2.6783 | 0 | 0.30035 | 0.028936 | 0.34187 | 0.57227 | 0.052526 | 0.38442 | 0 | 16.6422 | 0.71504 | 0.11372 | 1.4566 | 0 | 0.016393 | 0.043693 | 0 | 0 | 0.15218 | 16.7944 | 17.5095
Note on L9: (peak area * coeff / inject volume) * (extract volume/ sample volume) = ug/liter
Note on H13: Jay Pinckney: >1 = Dilution (higher acetone volume added or lower volume of carotenal added) <1 = Evaporation (lower acetone volume added or higher volume of carotenal added)
Note on I13: Chlorophyll c3
Note on J13: Chlorophyll c1c2
Note on K13: Peridinin
Note on L13: 19' Butanoyloxyfucoxanthin
Note on M13: Fucoxanthin
Note on N13: 19' Hexanoyloxyfucoxanthin
Note on O13: 9' cis-Neoxanthin
Note on P13: Prasinoxanthin
Note on Q13: Violaxanthin
Note on R13: Diadinoxanthin
Note on S13: Antheraxanthin
Note on T13: Alloxanthin
Note on U13: Diatoxanthin
Note on W13: Zeaxanthin
Note on X13: Gyroxanthin-diester
Note on Y13: Chlorophyll b
Note on Z13: Chlorophyll a Allomer
Note on AA13: Chlorophyll a + Divinyl Chl a
Note on AB13: Chlorophyll a'
Note on AK13: Chlorophyllide a
Note on AL13: Chl a + Divinyl Chl a + Chlide a
Note on AM13: Total Chl a + Chl a isomers

## Detection Limits
Effective Limits of Detection and Quantification
|  | LODeff | Effective Limit of Detection
|  | LOQeff | Effective Limit of Quantification
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
Sample
| Number | Chl c3 |  | Perid |  | 19'ButFuc |  | Fuco |  | 19'HexFuc |  | Neo |  | Viola |  | Diad |  | Allox |  | Diat |  | Lutein |  | Zeax |  | Gyro |  | Chl b |  | Chl a
|  | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff
| T0 A | 0.0041455 | 0.013818 | 0.0045449 | 0.01515 | 0.0045704 | 0.015235 | 0.0047891 | 0.015964 | 0.0035141 | 0.011714 | 0.0026848 | 0.0089494 | 0.0037146 | 0.012382 | 0.0032022 | 0.010674 | 0.0033428 | 0.011143 | 0.0040422 | 0.013474 | 0.0030841 | 0.01028 | 0.0040537 | 0.013512 | 0.003205 | 0.010683 | 0.014496 | 0.048319 | 0.011451 | 0.03817