## Coefficients
Standard Coefficients
COEFFICIENT TABLE
|  |  |  | E 1% | Estimated |  |  |  | Limit of | Limit of
Calibration Date = | 2024-02-21 |  | Pigment | λmax | Coefficient | Y intercept | λmax | Solvent | Quantification (ng) | Detection (ng) | Notes
Standard ID = | DHI Standards
|  |  | β,β Carotene | 2500 | 0.00023536 | 0 | 454 | acetone
|  |  | β,ε Carotene | 2700 | 0.00021792 | 0 | 448 | acetone
|  |  | β,ψ Carotene | 3185 | 0.00018474 | 0 | 459 | pet ether
E1% (1cm) = the extinction coefficient of a 1% solution in a 1 cm cuvette |  |  | ε,ε Carotene | 2900 | 0.0002029 | 0 | 440 | pet ether
|  |  | 19' but-Fuco | 1470 | 0.00013205 | 0 | 445 | acetone | 0.53769 | 0.16131
[pigment] (mg/L) = abs/(E1% * 0.0001) |  |  | 19' hex-Fuco | 1420 | 0.00014815 | 0 | 445 | acetone | 0.41342 | 0.12403
|  |  | Alloxanthin | 2500 | 7.7922e-05 | 0 | 454 | acetone | 0.39328 | 0.11798
E1% values obtained from Mantoura & Llewellyn 1983 |  |  | Antheraxanthin | 2350 | 0.00011915 | 0 | 446 | ethanol
| and Jeffrey et al. 1997 |  | Aphanizophyll |  | 0.00016859 | 0
|  |  | Astaxanthin | 2100 | 0.00010888 | 0 | 468 | hexane
|  |  | Bacteriochlorophyll a | 594 | 0.0094392 | 0 | 771 | acetone/methanol |  |  | Oelze 1985
Red coefficients were determined from standards |  |  | Canthaxanthin | 2200 | 0.00010393 | 0 | 466 | pet ether
All others were estimated using LC 10AD coefficients |  | 21 Feb 24 | Chlorophyll a | 876.7 | 0.00036505 | 0 | 664.3 | 90%acetone | 1.3472 | 0.40415
|  | Dec 21 | Chlorophyll b | 513.6 | 0.00045591 | 0 | 646.8 | 90%acetone | 1.7054 | 0.51161
|  |  | Chlorophyll c1c2 | 426 | 7.4207e-05 | 0 | 630.7 | 90%acetone | Estimated | Estimated | Estimated
|  |  | Chlorophyll c3 | 3460 | 0.00014362 | 0 | 452.9 | 90%acetone | 0.48771 | 0.14631
|  |  | Chlorophyllide a | 1270 | 0.00018166 | 0 | 664 | 90%acetone
|  |  | Chlorophyllide b | 740.7 | 0.000296 | 0 | 645 | 90%acetone
|  |  | Crocoxanthin | 2500 | 8.1206e-05 | 0 | 443 | ethanol
|  |  | Diadinochrome | 2500 | 7.6501e-05 | 0 | 428 | acetone
|  |  | Diadinoxanthin | 2250 | 9.1104e-05 | 0 | 444.5 | methanol | 0.37673 | 0.11302
|  |  | Diatoxanthin | 2100 | 0.00012482 | 0 | 452 | acetone | 0.47555 | 0.14266
|  |  | Dinoxanthin | 2100 | 9.6674e-05 | 0 | 442 | acetone
|  |  | Divinyl Chlorophyll a | 876.7 | 0.00040626 | 0 | 664.3 | 90%acetone | 0.94742 | 0.28423 | Assume equal to Chla
|  |  | Divinyl Chlorophyll b | 513.6 | 0.00042689 | 0 | 646.8 | 90%acetone |  |  | Assume equal to Chlb
|  |  | Echinenone | 2158 | 0.00024321 | 0 | 458 | pet ether
|  | Dec 21 | Fucoxanthin | 1660 | 0.00012096 | 0 | 443 | acetone | 0.56342 | 0.16903
|  |  | Gyroxanthin-diester | 2620 | 0.00017865 | 0 | 445 | ethanol | 0.37706 | 0.11312
|  |  | Lutein | 2550 | 0.00016679 | 0 | 445 | ethanol | 0.36284 | 0.10885
|  |  | Lycopene | 3446 | 0.00056603 | 0 | 474 | acetone
|  |  | Mg DVP | 589 | 0.00037224 | 0 | 623 | methanol
|  |  | Monadoxanthin | 2500 | 9.7068e-05 | 0 | 446 | diethyl ether
|  |  | Myxoxanthophyll | 2160 | 0.00017631 | 0 | 478 | acetone | 1.0391 | 0.31172 | Hirschberg & Chamovitz 1994
|  |  | Neoxanthin | 2270 | 0.00015528 | 0 | 438 | ethanol | 0.31586 | 0.094758
|  |  | P-457 | 1640 | 0.0011893 | 0 | 457 | acetone
|  | Dec 21 | Peridinin | 1340 | 0.00017348 | 0 | 466 | acetone | 0.53469 | 0.16041
|  |  | Pheophorbide a | 742 | 0.00045341 | 0 | 667 | 90%acetone
|  |  | Pheophorbide b | 463.7 | 0.00047283 | 0 | 657 | 90%acetone
|  |  | Pheophytin a | 512 | 0.00065709 | 0 | 667 | 90%acetone
|  |  | Pheophytin b | 318 | 0.00068946 | 0 | 657 | 90%acetone
|  |  | Prasinoxanthin | 2500 | 0.00021476 | 0 | 446 | diethyl ether
|  |  | Pyropheophytin a | 602.9 | 0.00055802 | 0 | 667 | diethyl ether
|  |  | Siphonaxanthin | 2500 | 7.6501e-05 | 0 | 445 | acetone
|  |  | Siphonein | 1920 | 0.0010159 | 0 | 462 | ethanol
|  |  | Vaucheriaxanthin | 2500 | 9.7068e-05 | 0 | 444 | acetone
|  |  | Violaxanthin | 2400 | 0.00012073 | 0 | 442 | acetone | 0.43702 | 0.1311
|  | Dec 21 | Zeaxanthin | 2340 | 8.5608e-05 | 0 | 452 | acetone | 0.47691 | 0.14307

## Internal Standard
Internal Standard Calculation Sheet
| HPLC | Acetone | Carotenal | Total Extract | Volume of
| Injection | Volume | Volume | Volume | IP
| Volume | Added | Added | added to Vial | added to Vial
| (µL) | (µL) | (µL) | (µL) | (µL)
| 250 | 750 | 50 | 500 | 125
Estimated Peak Area for Carotenal Standard Added |  |  |  | 661050
Note on D5: J Pinckney: Volume of 90% acetone used for the extraction…amount added to the tube and filter

## Peak Areas
Sample ID:
PEAK AREAS
[5 empty] | Sample | HPLC | Acetone + Carotenal | Extract | Ammonium
[5 empty] | Filtered | Injection | Added | Volume | Acetate
|  |  |  | Special | Volume | Volume | Volume | in Vial | Ratio
Number | Date | Station | Other | Notes | (Liters) | (µL) | (ml) | (µL) |  | Chl-ide a | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Carotenal | Chl b | Chla Allomer | Chl a | Chla prime | βε Carotene | ββ Carotene | Myxo | Croco | Echin | Astax | Myxo II
Blank Line
1 | [9 empty] | 102648 | 273210 | 748410 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335241 | 2998 | 0 | 45650 | 0 | 427919 | 0 | 0 | 1072454 | 21555 | 0 | 222292 | 0 | 0 | 0
2 | [9 empty] | 86859 | 0 | 768124 | 0 | 0 | 0 | 0 | 0 | 0 | 2426 | 4621 | 0 | 1682023 | 4412 | 0 | 13338 | 0 | 502629 | 0 | 0 | 1325596 | 27062 | 0 | 31375 | 0 | 0 | 0
3 | [9 empty] | 92723 | 0 | 728962 | 0 | 0 | 0 | 0 | 0 | 0 | 5446 | 9968 | 0 | 1539465 | 5570 | 0 | 18729 | 0 | 334247 | 0 | 0 | 868440 | 26413 | 0 | 41820 | 0 | 0 | 0
4 | [9 empty] | 192467 | 0 | 826391 | 0 | 1615 | 0 | 2505 | 0 | 0 | 4842 | 10549 | 0 | 2317857 | 8786 | 0 | 23416 | 0 | 433833 | 0 | 0 | 1318956 | 35808 | 0 | 81974 | 0 | 0 | 0
5 | [9 empty] | 127245 | 0 | 482410 | 0 | 0 | 0 | 0 | 0 | 0 | 6908 | 10030 | 0 | 1640492 | 6152 | 0 | 14026 | 0 | 555594 | 0 | 18373 | 894845 | 24689 | 0 | 53421 | 0 | 0 | 0
6 | [9 empty] | 109361 | 0 | 437332 | 0 | 0 | 0 | 0 | 0 | 0 | 6931 | 8922 | 0 | 1407389 | 5806 | 0 | 17195 | 0 | 403921 | 0 | 0 | 722189 | 22123 | 0 | 44590 | 0 | 0 | 0
7 | [9 empty] | 112718 | 0 | 441558 | 0 | 0 | 0 | 0 | 0 | 0 | 4086 | 6815 | 0 | 1675997 | 6566 | 0 | 19131 | 0 | 459742 | 0 | 19070 | 831467 | 28350 | 0 | 55576 | 0 | 0 | 0
8 | [9 empty] | 117652 | 0 | 454678 | 0 | 1928 | 0 | 1898 | 0 | 0 | 4545 | 9079 | 0 | 1849860 | 7811 | 0 | 22645 | 0 | 495155 | 0 | 21235 | 916654 | 33108 | 0 | 65945 | 0 | 0 | 0
9 | [9 empty] | 102714 | 0 | 474679 | 0 | 2040 | 0 | 1510 | 0 | 0 | 3912 | 8339 | 0 | 2054809 | 7910 | 0 | 24508 | 0 | 524762 | 0 | 26925 | 1017663 | 36004 | 0 | 68747 | 0 | 0 | 0
10 | [9 empty] | 93213 | 0 | 476511 | 0 | 2691 | 0 | 1958 | 0 | 0 | 4202 | 8671 | 0 | 2013559 | 7436 | 0 | 17887 | 3903 | 501102 | 0 | 24110 | 979208 | 35206 | 0 | 66012 | 0 | 0 | 0
11 | [9 empty] | 111420 | 0 | 432233 | 0 | 2473 | 0 | 0 | 0 | 0 | 4095 | 8151 | 0 | 2023964 | 6985 | 0 | 24343 | 0 | 532102 | 0 | 26751 | 1001296 | 35156 | 0 | 65718 | 0 | 0 | 0
12 | [9 empty] | 97333 | 0 | 433548 | 0 | 2830 | 0 | 1904 | 0 | 0 | 4986 | 9500 | 0 | 2150461 | 8163 | 0 | 27313 | 0 | 532372 | 0 | 27799 | 1040940 | 38130 | 0 | 75617 | 0 | 0 | 0
13 | [9 empty] | 140641 | 0 | 512908 | 0 | 3194 | 0 | 2916 | 0 | 0 | 7659 | 13619 | 0 | 2811048 | 9905 | 0 | 29001 | 4975 | 568721 | 0 | 32343 | 1257994 | 46433 | 0 | 98873 | 0 | 0 | 0
14 | [9 empty] | 126203 | 0 | 580945 | 0 | 3919 | 0 | 2860 | 0 | 0 | 9262 | 16115 | 0 | 2964507 | 10756 | 0 | 33716 | 4813 | 444941 | 0 | 31536 | 1278027 | 56126 | 0 | 99141 | 0 | 0 | 0
15 | [9 empty] | 61054 | 0 | 287736 | 0 | 3620 | 0 | 4082 | 0 | 0 | 27115 | 29260 | 0 | 1497793 | 5709 | 0 | 19897 | 5736 | 555134 | 0 | 17352 | 704472 | 26640 | 0 | 70423 | 0 | 0 | 0
16 | [9 empty] | 57292 | 0 | 225991 | 0 | 3018 | 0 | 3282 | 0 | 0 | 11992 | 16222 | 0 | 1111590 | 4571 | 0 | 15216 | 4307 | 506258 | 0 | 12268 | 511673 | 21128 | 0 | 48300 | 0 | 0 | 0
17 | [9 empty] | 19755 | 0 | 110144 | 0 | 0 | 0 | 0 | 0 | 0 | 2781 | 3636 | 0 | 501881 | 1805 | 0 | 6751 | 0 | 530995 | 0 | 7717 | 250675 | 10093 | 0 | 33652 | 0 | 0 | 0
18 | [9 empty] | 15343 | 0 | 88864 | 0 | 0 | 0 | 0 | 0 | 0 | 1973 | 2264 | 0 | 404166 | 1414 | 0 | 5551 | 0 | 509458 | 0 | 5114 | 206361 | 9427 | 0 | 32300 | 0 | 0 | 0
19 |  |  |  |  | 0.15 | 200 | 0.8 | 400 | 1.25 | 15119 | 0 | 106912 | 21476 | 0 | 291079 | 461 | 4322 | 0 | 65814 | 292895 | 25111 | 115746 | 5409 | 25548 | 93900 | 5096 | 525807 | 6644 | 9043 | 409170 | 16877 | 0 | 61207 | 0 | 0 | 6694
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 12411 | 0 | 102071 | 19040 | 0 | 297197 | 687 | 4484 | 0 | 70847 | 286982 | 24496 | 88845 | 4001 | 26948 | 98231 | 4820 | 516874 | 5645 | 7382 | 403339 | 16387 | 7252 | 50927 | 0 | 0 | 8361
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 13696 | 0 | 108512 | 23896 | 0 | 306597 | 888 | 5864 | 0 | 70949 | 311666 | 26230 | 88025 | 5171 | 30934 | 101598 | 4165 | 523086 | 7860 | 7646 | 419705 | 18004 | 9564 | 71848 | 0 | 0 | 6868
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 13430 | 0 | 106042 | 23094 | 0 | 314593 | 676 | 5402 | 0 | 71158 | 318154 | 27162 | 87141 | 5703 | 29908 | 101826 | 4618 | 518188 | 6639 | 5279 | 421815 | 17173 | 6944 | 52986 | 0 | 0 | 8215
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 12758 | 0 | 101347 | 20724 | 0 | 312752 | 869 | 5929 | 0 | 73582 | 309152 | 25232 | 79861 | 5417 | 28319 | 104764 | 5095 | 526286 | 7055 | 5205 | 417370 | 18473 | 0 | 61486 | 0 | 0 | 9161
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 18854 | 22419 | 200845 | 21673 | 0 | 855107 | 492 | 30926 | 0 | 167906 | 561168 | 42826 | 100427 | 11237 | 117791 | 205593 | 7214 | 529618 | 48247 | 27332 | 1094667 | 46271 | 0 | 130114 | 0 | 0 | 16676
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 21654 | 26530 | 251673 | 4226 | 0 | 976073 | 340 | 33632 | 0 | 185433 | 591576 | 25953 | 132953 | 9018 | 118788 | 218801 | 8027 | 533433 | 51139 | 41443 | 1265702 | 52555 | 0 | 147001 | 0 | 0 | 18276
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 17643 | 26218 | 218612 | 19304 | 0 | 916018 | 295 | 27344 | 0 | 167591 | 526017 | 24445 | 121665 | 11460 | 101959 | 230148 | 8846 | 538483 | 41356 | 25682 | 1148164 | 50552 | 0 | 122454 | 0 | 0 | 17429
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 22568 | 25281 | 232785 | 4323 | 0 | 975981 | 408 | 32661 | 0 | 178901 | 625387 | 26980 | 105285 | 10652 | 116690 | 223250 | 8478 | 528333 | 48522 | 24228 | 1236944 | 54619 | 0 | 112965 | 0 | 0 | 19255
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 21956 | 27264 | 249531 | 4071 | 0 | 938220 | 626 | 30624 | 0 | 182588 | 601489 | 27722 | 146441 | 12862 | 117427 | 242741 | 8373 | 507815 | 50006 | 31951 | 1242470 | 57203 | 0 | 138550 | 0 | 0 | 20336
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 44854 | 34941 | 596021 | 9438 | 0 | 1507674 | 6389 | 50194 | 0 | 312318 | 817609 | 71435 | 80328 | 10538 | 169385 | 295305 | 12878 | 494117 | 43591 | 22554 | 886091 | 35732 | 0 | 87945 | 0 | 0 | 13210
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 20941 | 25737 | 240452 | 8939 | 0 | 959946 | 682 | 32402 | 0 | 195509 | 600994 | 22353 | 86232 | 7802 | 121819 | 221892 | 8560 | 511367 | 48912 | 34156 | 1202820 | 53739 | 0 | 152869 | 0 | 0 | 19516
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 20315 | 21730 | 215624 | 10636 | 0 | 901945 | 865 | 32671 | 0 | 181679 | 568005 | 24949 | 55640 | 9121 | 123877 | 245237 | 9627 | 95184 | 48305 | 32807 | 1160401 | 56165 | 0 | 161809 | 0 | 0 | 17538
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 22796 | 24469 | 246714 | 8686 | 0 | 1007620 | 770 | 30199 | 0 | 186055 | 627988 | 24993 | 84716 | 7663 | 111520 | 206167 | 7561 | 452031 | 45787 | 35294 | 1212169 | 56332 | 8885 | 150639 | 0 | 0 | 19966
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 19453 | 27197 | 233035 | 17943 | 0 | 963527 | 665 | 30558 | 0 | 187974 | 555334 | 39342 | 68995 | 7305 | 112325 | 220651 | 9522 | 498293 | 51254 | 13027 | 1216978 | 27971 | 0 | 228460 | 0 | 0 | 20197
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23648 | 28602 | 263191 | 21932 | 0 | 1114266 | 400 | 37878 | 0 | 211161 | 616828 | 45062 | 104533 | 12939 | 137544 | 210913 | 8950 | 561881 | 61207 | 16149 | 1364039 | 33500 | 0 | 238515 | 0 | 0 | 21902
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 22732 | 28381 | 275429 | 21727 | 0 | 1124574 | 413 | 40683 | 0 | 215312 | 630460 | 41706 | 123933 | 12149 | 144826 | 214151 | 7855 | 474962 | 66557 | 16879 | 1426226 | 35067 | 0 | 252708 | 0 | 0 | 21730
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 20980 | 30846 | 274040 | 22499 | 0 | 1114564 | 411 | 43361 | 0 | 223539 | 623910 | 43675 | 125750 | 11941 | 152965 | 226622 | 8493 | 517122 | 68513 | 16766 | 1430224 | 37682 | 32280 | 270320 | 0 | 0 | 21528
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23273 | 30449 | 289413 | 22015 | 0 | 1120787 | 624 | 40862 | 0 | 221524 | 655045 | 45245 | 150189 | 11392 | 144429 | 228003 | 8573 | 587023 | 64424 | 15845 | 1460381 | 37524 | 22757 | 247541 | 0 | 0 | 21785
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 20575 | 24816 | 249155 | 18664 | 0 | 1043547 | 495 | 35561 | 0 | 208559 | 628291 | 42849 | 109879 | 11495 | 127827 | 223454 | 7838 | 473449 | 55529 | 16081 | 1322974 | 34056 | 16342 | 223091 | 0 | 0 | 20440
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 26330 | 29267 | 296968 | 24021 | 0 | 1190284 | 377 | 43105 | 0 | 245134 | 717480 | 46285 | 127632 | 12741 | 154272 | 235552 | 7727 | 532901 | 66642 | 18032 | 1514054 | 41578 | 23061 | 264830 | 0 | 0 | 21779
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23733 | 26445 | 268171 | 22904 | 0 | 1095680 | 539 | 41715 | 0 | 233306 | 666042 | 46428 | 127368 | 13506 | 153714 | 245059 | 8323 | 553773 | 65907 | 17267 | 1410339 | 37803 | 0 | 200817 | 0 | 0 | 20781
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 26239 | 28682 | 292416 | 19726 | 0 | 1170637 | 0 | 50812 | 0 | 218801 | 669155 | 49952 | 129157 | 11163 | 145709 | 225035 | 7986 | 569636 | 65884 | 19290 | 1473072 | 42998 | 20748 | 230506 | 0 | 0 | 21358
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 22982 | 30735 | 295516 | 20022 | 0 | 1140557 | 0 | 47504 | 0 | 209036 | 691135 | 46861 | 164834 | 10581 | 138938 | 222472 | 7482 | 547090 | 60712 | 18586 | 1432359 | 40124 | 0 | 237305 | 0 | 0 | 20097
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 25237 | 27245 | 274043 | 31794 | 0 | 1121429 | 701 | 44160 | 0 | 232477 | 631254 | 42594 | 98835 | 11108 | 151301 | 230850 | 8653 | 547058 | 65671 | 19349 | 1412684 | 39900 | 18823 | 244047 | 0 | 0 | 21384
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 25856 | 30409 | 294460 | 20970 | 0 | 1152426 | 380 | 38936 | 0 | 217308 | 626230 | 39884 | 122699 | 9295 | 136371 | 215807 | 7563 | 547759 | 59935 | 18690 | 1405743 | 38161 | 19303 | 221735 | 0 | 0 | 20964
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 26510 | 29228 | 283493 | 23347 | 0 | 1112419 | 544 | 43919 | 0 | 228641 | 649252 | 44777 | 103972 | 10010 | 150445 | 231533 | 9077 | 549417 | 65892 | 16199 | 1396685 | 42785 | 17136 | 236585 | 0 | 0 | 20941
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 13637 | 14166 | 231871 | 8980 | 0 | 1210256 | 836 | 45865 | 0 | 234116 | 740115 | 15967 | 102426 | 10581 | 158001 | 234607 | 9279 | 530569 | 69695 | 18900 | 1491373 | 44420 | 17306 | 240124 | 0 | 0 | 20665
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 26785 | 29021 | 276255 | 20115 | 0 | 1106135 | 778 | 42501 | 0 | 230530 | 640082 | 45674 | 88198 | 9649 | 149409 | 247301 | 9302 | 527539 | 66698 | 16151 | 1391237 | 41160 | 13786 | 199257 | 0 | 0 | 21416
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 24322 | 28094 | 276958 | 18817 | 0 | 1114234 | 517 | 40048 | 0 | 224635 | 636064 | 43129 | 95721 | 10523 | 146235 | 235187 | 8918 | 530857 | 63228 | 18306 | 1389808 | 42619 | 15066 | 215995 | 0 | 0 | 20204
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 24511 | 28384 | 264528 | 15258 | 0 | 1037761 | 511 | 39665 | 0 | 221894 | 639777 | 24202 | 93649 | 9937 | 143548 | 235985 | 10167 | 540983 | 63370 | 19615 | 1349203 | 43873 | 15040 | 211085 | 0 | 0 | 20650
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 24856 | 30880 | 271942 | 17866 | 0 | 1063040 | 772 | 45113 | 0 | 249417 | 634890 | 47664 | 86664 | 10397 | 165755 | 248926 | 10653 | 542363 | 71559 | 17998 | 1393706 | 45155 | 25446 | 236812 | 0 | 0 | 22251
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23701 | 28641 | 274030 | 16626 | 0 | 1135333 | 579 | 42013 | 0 | 230478 | 595054 | 40182 | 92180 | 8566 | 143904 | 225837 | 10072 | 524272 | 64359 | 19034 | 1401630 | 45977 | 0 | 238213 | 0 | 0 | 21122
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 24542 | 28291 | 281195 | 17887 | 0 | 1134146 | 454 | 40513 | 0 | 222318 | 580161 | 21621 | 97303 | 6629 | 132959 | 215153 | 8404 | 541304 | 61416 | 19054 | 1394739 | 45851 | 0 | 229327 | 0 | 0 | 21314
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 25896 | 31908 | 297369 | 19505 | 0 | 1190255 | 722 | 35072 | 0 | 221845 | 661316 | 46652 | 104762 | 9930 | 129750 | 176352 | 7685 | 519245 | 55874 | 17694 | 1353506 | 43348 | 14528 | 207391 | 0 | 0 | 19642
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 25239 | 30610 | 292389 | 18970 | 0 | 1162649 | 607 | 37599 | 0 | 216254 | 589516 | 42488 | 104756 | 5268 | 128785 | 204081 | 8135 | 520397 | 57912 | 19187 | 1369104 | 43707 | 0 | 210615 | 0 | 0 | 19705
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23417 | 26847 | 268012 | 15575 | 0 | 1053400 | 614 | 40263 | 0 | 214426 | 601916 | 23935 | 107427 | 6624 | 142051 | 231031 | 10294 | 527097 | 60574 | 19074 | 1321653 | 46767 | 0 | 205565 | 0 | 0 | 20877
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 24978 | 28064 | 280921 | 14858 | 0 | 1082237 | 638 | 38056 | 0 | 219192 | 570331 | 43832 | 118718 | 7881 | 133225 | 216189 | 9992 | 520004 | 59016 | 20933 | 1353029 | 48467 | 0 | 219233 | 0 | 0 | 18294
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23789 | 26972 | 259782 | 18318 | 0 | 997692 | 621 | 37412 | 0 | 219322 | 528455 | 42216 | 93284 | 7967 | 128888 | 229615 | 10087 | 508522 | 58253 | 18643 | 1260839 | 50016 | 0 | 200564 | 0 | 0 | 19639
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 24249 | 27476 | 262478 | 15933 | 0 | 1046208 | 683 | 41349 | 0 | 208912 | 590393 | 44814 | 101229 | 7197 | 142566 | 238824 | 10380 | 531047 | 60621 | 18308 | 1332138 | 54654 | 0 | 222631 | 0 | 0 | 20909
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 23285 | 30727 | 273513 | 13144 | 0 | 1017711 | 0 | 46971 | 0 | 206733 | 541871 | 41874 | 118285 | 9065 | 134687 | 287898 | 13153 | 525491 | 59997 | 18703 | 1333132 | 52974 | 0 | 216022 | 0 | 0 | 21547
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 27153 | 26646 | 270364 | 14491 | 0 | 1085071 | 886 | 41510 | 0 | 222849 | 618298 | 13176 | 75001 | 6905 | 146026 | 228752 | 10471 | 532222 | 62401 | 22357 | 1334556 | 53989 | 0 | 211402 | 0 | 0 | 19970
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 25032 | 27009 | 280539 | 20071 | 0 | 1093427 | 386 | 39356 | 0 | 230587 | 0 | 568795 | 87244 | 7025 | 134263 | 221507 | 11580 | 504189 | 57951 | 20473 | 1318428 | 55604 | 0 | 206300 | 0 | 0 | 19683
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 25360 | 28640 | 269736 | 14924 | 0 | 959297 | 446 | 35240 | 0 | 196846 | 0 | 494310 | 67664 | 6058 | 119602 | 205631 | 11655 | 482901 | 52897 | 20290 | 1155499 | 50915 | 0 | 184638 | 0 | 0 | 19068
[5 empty] | 0.15 | 200 | 0.8 | 400 | 1.25 | 26242 | 26576 | 256453 | 12797 | 0 | 840973 | 679 | 27784 | 0 | 5126 | 0 | 462490 | 59816 | 6183 | 106210 | 190074 | 10666 | 443918 | 48348 | 16227 | 1047104 | 47630 | 0 | 165892 | 0 | 0 | 17035
Note on F6: The total volume of water filtered through the filter(s) in the microfuge tube
Note on H6: Volume of acetone added to the microfuge tube for extraction + volume of carotenal added
Note on I6: Volume of extract placed in the HPLC sample vial
Note on J9: Acetone + AmAc (ml) / Acetone (ml)

## ug_liter
HPLC PHOTOPIGMENT ANALYSIS FACILITY
BARUCH INSTITUTE FOR MARINE AND COASTAL SCIENCES
UNIVERSITY OF SOUTH CAROLINA | [8 empty] | Protocols and Methods Link
COLUMBIA, SC 29208 USA | [8 empty] | Technical Description of Methods Link
PINCKNEY@SC.EDU |  | (803) 777.7133
| Sample ID: | 0
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
0 Concentrations Indicate "Below Limits of Detection"
[5 empty] | Sample | Volume | Internal Std
Number | Date | Station | Other | Notes | Volume (L) | Constants | Constant | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Chl b | Chla Allomer | Chl a | Chla prime | α Carotene | β Carotene | Myxo | Croco | Echin | Astax | Myxo II | Chl-ide a | Total Chl a | ALL Chl a
1 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
2 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
3 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
4 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
5 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
6 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
7 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
8 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
9 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
10 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
11 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
12 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
13 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
14 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
15 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
16 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
17 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
18 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
19 | 0 | 0 | 0 | 0 | 0.15 | 0.035621 | 1.0058 | 0 | 0.2826 | 0.13271 | 0 | 1.2542 | 0.0024329 | 0.023906 | 0 | 0.28304 | 0.95051 | 0.10658 | 0.32127 | 0.02405 | 0.15179 | 0.28634 | 0.032429 | 0.1079 | 0.11759 | 5.3206 | 0.21946 | 0 | 0.51315 | 0 | 0 | 0.057993 | 0 | 0 | 0.097836 | 5.4185 | 5.7555
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036237 | 1.0232 | 0 | 0.27447 | 0.11969 | 0 | 1.3027 | 0.0036882 | 0.02523 | 0 | 0.30995 | 0.94741 | 0.10577 | 0.25087 | 0.018097 | 0.16287 | 0.30473 | 0.031203 | 0.093259 | 0.09765 | 5.3354 | 0.21677 | 0.057267 | 0.43434 | 0 | 0 | 0.073686 | 0 | 0 | 0.0817 | 5.4171 | 5.7316
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035806 | 1.011 | 0 | 0.28833 | 0.14844 | 0 | 1.3279 | 0.0047107 | 0.032603 | 0 | 0.30671 | 1.0167 | 0.11191 | 0.2456 | 0.023112 | 0.18474 | 0.31143 | 0.026642 | 0.12831 | 0.099941 | 5.486 | 0.23533 | 0.074628 | 0.6055 | 0 | 0 | 0.05981 | 0 | 0 | 0.089089 | 5.5751 | 5.9104
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036145 | 1.0206 | 0 | 0.28443 | 0.14481 | 0 | 1.3754 | 0.0036199 | 0.030318 | 0 | 0.31052 | 1.0477 | 0.11698 | 0.24543 | 0.02573 | 0.1803 | 0.31508 | 0.029819 | 0.1094 | 0.069654 | 5.5657 | 0.22659 | 0.054696 | 0.45076 | 0 | 0 | 0.072216 | 0 | 0 | 0.088184 | 5.6539 | 5.9501
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035589 | 1.0049 | 0 | 0.26765 | 0.12795 | 0 | 1.3463 | 0.0045818 | 0.032764 | 0 | 0.31615 | 1.0023 | 0.107 | 0.22147 | 0.024064 | 0.1681 | 0.31918 | 0.032393 | 0.11447 | 0.067621 | 5.4223 | 0.23999 | 0 | 0.51502 | 0 | 0 | 0.079293 | 0 | 0 | 0.082483 | 5.5048 | 5.8124
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035365 | 0.99853 | 0.11387 | 0.52708 | 0.13297 | 0 | 3.6579 | 0.0025778 | 0.16982 | 0 | 0.71689 | 1.808 | 0.18046 | 0.27675 | 0.049604 | 0.69479 | 0.62243 | 0.045577 | 0.77789 | 0.35285 | 14.132 | 0.59735 | 0 | 1.083 | 0 | 0 | 0.14343 | 0 | 0 | 0.12113 | 14.2531 | 15.2033
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035112 | 0.99139 | 0.13379 | 0.65575 | 0.025742 | 0 | 4.1455 | 0.0017686 | 0.18336 | 0 | 0.78606 | 1.8923 | 0.10858 | 0.36376 | 0.039524 | 0.69566 | 0.65768 | 0.050351 | 0.81862 | 0.5312 | 16.2232 | 0.67363 | 0 | 1.2148 | 0 | 0 | 0.15607 | 0 | 0 | 0.13812 | 16.3613 | 17.5661
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034782 | 0.98209 | 0.13097 | 0.56426 | 0.11648 | 0 | 3.854 | 0.0015202 | 0.14768 | 0 | 0.70377 | 1.6669 | 0.10131 | 0.32975 | 0.049756 | 0.59151 | 0.6853 | 0.054968 | 0.65581 | 0.32609 | 14.5786 | 0.64188 | 0 | 1.0025 | 0 | 0 | 0.14744 | 0 | 0 | 0.11148 | 14.6901 | 15.6581
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035451 | 1.001 | 0.12872 | 0.61239 | 0.026587 | 0 | 4.1851 | 0.0021429 | 0.17979 | 0 | 0.76569 | 2.0198 | 0.11396 | 0.29084 | 0.047136 | 0.68997 | 0.67753 | 0.053693 | 0.78423 | 0.31354 | 16.0076 | 0.70684 | 0 | 0.94255 | 0 | 0 | 0.16602 | 0 | 0 | 0.14534 | 16.153 | 17.1733
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036883 | 1.0414 | 0.14442 | 0.68296 | 0.026049 | 0 | 4.1858 | 0.0034207 | 0.17539 | 0 | 0.81305 | 2.0211 | 0.12183 | 0.42087 | 0.059215 | 0.72239 | 0.76645 | 0.05517 | 0.84087 | 0.43019 | 16.7288 | 0.77019 | 0 | 1.2027 | 0 | 0 | 0.18242 | 0 | 0 | 0.14711 | 16.8759 | 18.0763
0 | 0 | 0 | 0 | 0 | 0.15 | 0.037905 | 1.0703 | 0.19022 | 1.6765 | 0.062064 | 0 | 6.9128 | 0.035879 | 0.29544 | 0 | 1.4293 | 2.8235 | 0.32264 | 0.23726 | 0.049861 | 1.0709 | 0.95826 | 0.087207 | 0.75332 | 0.31209 | 12.2612 | 0.49444 | 0 | 0.78461 | 0 | 0 | 0.12178 | 0 | 0 | 0.30887 | 12.5701 | 13.3766
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036627 | 1.0342 | 0.13539 | 0.65354 | 0.0568 | 0 | 4.253 | 0.0037008 | 0.18428 | 0 | 0.86454 | 2.0054 | 0.097553 | 0.24611 | 0.03567 | 0.7442 | 0.69575 | 0.056011 | 0.81676 | 0.45669 | 16.0825 | 0.71852 | 0 | 1.3178 | 0 | 0 | 0.17385 | 0 | 0 | 0.13934 | 16.2218 | 17.397
0 | 0 | 0 | 0 | 0 | 0.15 | 0.19677 | 5.556 | 0.61412 | 3.1486 | 0.36308 | 0 | 21.4681 | 0.025217 | 0.99825 | 0 | 4.3161 | 10.1826 | 0.58496 | 0.85313 | 0.22403 | 4.0657 | 4.1311 | 0.33842 | 4.3335 | 2.3566 | 83.3544 | 4.0345 | 0 | 7.4939 | 0 | 0 | 0.83932 | 0 | 0 | 0.7262 | 84.0806 | 90.4717
0 | 0 | 0 | 0 | 0 | 0.15 | 0.041435 | 1.1699 | 0.14561 | 0.75859 | 0.062437 | 0 | 5.0502 | 0.0047268 | 0.1943 | 0 | 0.93073 | 2.3706 | 0.12339 | 0.27352 | 0.039633 | 0.77071 | 0.7313 | 0.055968 | 0.86494 | 0.53385 | 18.3349 | 0.85206 | 0.080227 | 1.4691 | 0 | 0 | 0.2012 | 0 | 0 | 0.17159 | 18.5065 | 19.8924
0 | 0 | 0 | 0 | 0 | 0.15 | 0.037588 | 1.0613 | 0.14682 | 0.65 | 0.117 | 0 | 4.3808 | 0.0037032 | 0.17835 | 0 | 0.85303 | 1.9017 | 0.1762 | 0.20208 | 0.034274 | 0.7042 | 0.71001 | 0.06394 | 0.87832 | 0.17875 | 16.6987 | 0.3838 | 0 | 2.0211 | 0 | 0 | 0.18464 | 0 | 0 | 0.13283 | 16.8315 | 17.3941
0 | 0 | 0 | 0 | 0 | 0.15 | 0.033334 | 0.9412 | 0.13693 | 0.65104 | 0.12683 | 0 | 4.4928 | 0.0019754 | 0.19606 | 0 | 0.8498 | 1.8732 | 0.17898 | 0.27152 | 0.053838 | 0.76472 | 0.60187 | 0.053298 | 0.93018 | 0.19651 | 16.5984 | 0.40765 | 0 | 1.8713 | 0 | 0 | 0.17756 | 0 | 0 | 0.1432 | 16.7416 | 17.3458
0 | 0 | 0 | 0 | 0 | 0.15 | 0.039434 | 1.1134 | 0.16074 | 0.80599 | 0.14864 | 0 | 5.3642 | 0.0024129 | 0.24911 | 0 | 1.0251 | 2.265 | 0.19596 | 0.38082 | 0.059801 | 0.95256 | 0.72295 | 0.055337 | 1.1966 | 0.24298 | 20.5312 | 0.50481 | 0 | 2.3455 | 0 | 0 | 0.20841 | 0 | 0 | 0.16285 | 20.694 | 21.4418
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036219 | 1.0227 | 0.16046 | 0.73655 | 0.14137 | 0 | 4.883 | 0.0022054 | 0.24386 | 0 | 0.97748 | 2.0587 | 0.18848 | 0.3549 | 0.053986 | 0.92407 | 0.70267 | 0.054954 | 1.1313 | 0.22168 | 18.9102 | 0.49822 | 0.25479 | 2.3044 | 0 | 0 | 0.18964 | 0 | 0 | 0.13804 | 19.0482 | 19.7681
0 | 0 | 0 | 0 | 0 | 0.15 | 0.031906 | 0.90088 | 0.13953 | 0.68524 | 0.12186 | 0 | 4.3256 | 0.0029497 | 0.20244 | 0 | 0.85333 | 1.9041 | 0.17201 | 0.3734 | 0.045371 | 0.76861 | 0.62277 | 0.048866 | 0.93714 | 0.18455 | 17.0097 | 0.43706 | 0.15823 | 1.8589 | 0 | 0 | 0.16905 | 0 | 0 | 0.1349 | 17.1445 | 17.7662
0 | 0 | 0 | 0 | 0 | 0.15 | 0.03956 | 1.117 | 0.141 | 0.73143 | 0.12809 | 0 | 4.9936 | 0.0029012 | 0.21844 | 0 | 0.9961 | 2.2644 | 0.20198 | 0.33872 | 0.056763 | 0.84344 | 0.75676 | 0.055394 | 1.0015 | 0.23223 | 19.1057 | 0.49182 | 0.14089 | 2.0772 | 0 | 0 | 0.19666 | 0 | 0 | 0.14787 | 19.2535 | 19.9776
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035147 | 0.99238 | 0.14774 | 0.77454 | 0.14647 | 0 | 5.0604 | 0.0019631 | 0.23525 | 0 | 1.0402 | 2.2974 | 0.19383 | 0.34955 | 0.055897 | 0.90437 | 0.70874 | 0.048517 | 1.0679 | 0.23136 | 19.4258 | 0.53346 | 0.17663 | 2.1907 | 0 | 0 | 0.18617 | 0 | 0 | 0.16812 | 19.5939 | 20.3587
0 | 0 | 0 | 0 | 0 | 0.15 | 0.033822 | 0.95498 | 0.12846 | 0.67307 | 0.13439 | 0 | 4.4826 | 0.0027008 | 0.21908 | 0 | 0.95267 | 2.0523 | 0.1871 | 0.33568 | 0.05702 | 0.86714 | 0.70955 | 0.05029 | 1.0163 | 0.21319 | 17.4131 | 0.46674 | 0 | 1.5986 | 0 | 0 | 0.17094 | 0 | 0 | 0.14582 | 17.5589 | 18.2389
0 | 0 | 0 | 0 | 0 | 0.15 | 0.03288 | 0.92838 | 0.13545 | 0.71348 | 0.11252 | 0 | 4.6559 | 0 | 0.25942 | 0 | 0.86856 | 2.0045 | 0.1957 | 0.33091 | 0.045816 | 0.79909 | 0.63343 | 0.04691 | 0.98763 | 0.23154 | 17.6812 | 0.5161 | 0.14867 | 1.7838 | 0 | 0 | 0.1708 | 0 | 0 | 0.15673 | 17.8379 | 18.5855
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034235 | 0.96664 | 0.15112 | 0.75076 | 0.11892 | 0 | 4.7232 | 0 | 0.25253 | 0 | 0.864 | 2.1556 | 0.19116 | 0.43973 | 0.045217 | 0.79336 | 0.65202 | 0.04576 | 0.9476 | 0.23228 | 17.901 | 0.50145 | 0 | 1.9121 | 0 | 0 | 0.16733 | 0 | 0 | 0.14293 | 18.0439 | 18.7777
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034237 | 0.9667 | 0.13397 | 0.69625 | 0.18884 | 0 | 4.6443 | 0.0035557 | 0.23477 | 0 | 0.96094 | 1.969 | 0.17376 | 0.26368 | 0.047471 | 0.864 | 0.67661 | 0.052925 | 1.0251 | 0.24183 | 17.6561 | 0.49868 | 0.14044 | 1.9666 | 0 | 0 | 0.17806 | 0 | 0 | 0.15697 | 17.8131 | 18.5536
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034193 | 0.96546 | 0.14934 | 0.74716 | 0.12439 | 0 | 4.7665 | 0.001925 | 0.20673 | 0 | 0.89709 | 1.9508 | 0.1625 | 0.32692 | 0.039673 | 0.77775 | 0.63171 | 0.046199 | 0.93433 | 0.23329 | 17.5469 | 0.47634 | 0.14384 | 1.7845 | 0 | 0 | 0.17434 | 0 | 0 | 0.16061 | 17.7075 | 18.4172
0 | 0 | 0 | 0 | 0 | 0.15 | 0.03409 | 0.96255 | 0.1431 | 0.71717 | 0.13808 | 0 | 4.5872 | 0.0027475 | 0.23248 | 0 | 0.94102 | 2.0164 | 0.18188 | 0.27619 | 0.042595 | 0.85543 | 0.6757 | 0.05528 | 1.0241 | 0.20159 | 17.3812 | 0.53244 | 0.1273 | 1.8983 | 0 | 0 | 0.17362 | 0 | 0 | 0.16418 | 17.5454 | 18.2794
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035301 | 0.99674 | 0.071822 | 0.60741 | 0.054995 | 0 | 5.1679 | 0.0043723 | 0.25141 | 0 | 0.99779 | 2.3803 | 0.067161 | 0.28175 | 0.046625 | 0.9303 | 0.709 | 0.058518 | 1.1217 | 0.24356 | 19.2189 | 0.57243 | 0.13313 | 1.9951 | 0 | 0 | 0.17742 | 0 | 0 | 0.087454 | 19.3064 | 20.1224
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035504 | 1.0025 | 0.14798 | 0.72784 | 0.1239 | 0 | 4.7504 | 0.0040923 | 0.23431 | 0 | 0.98815 | 2.0704 | 0.19322 | 0.244 | 0.042762 | 0.88477 | 0.75165 | 0.059 | 1.0796 | 0.20933 | 18.0315 | 0.53346 | 0.10666 | 1.6651 | 0 | 0 | 0.18493 | 0 | 0 | 0.17276 | 18.2042 | 18.947
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035282 | 0.9962 | 0.14236 | 0.72513 | 0.11518 | 0 | 4.7553 | 0.0027024 | 0.2194 | 0 | 0.95686 | 2.0445 | 0.18131 | 0.26316 | 0.046344 | 0.86056 | 0.71036 | 0.056211 | 1.0171 | 0.23578 | 17.9004 | 0.54892 | 0.11584 | 1.7936 | 0 | 0 | 0.17337 | 0 | 0 | 0.15589 | 18.0562 | 18.8409
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034622 | 0.97755 | 0.14114 | 0.67962 | 0.091644 | 0 | 4.346 | 0.0026211 | 0.21324 | 0 | 0.92749 | 2.018 | 0.09984 | 0.25265 | 0.042944 | 0.82893 | 0.69943 | 0.062884 | 1.0003 | 0.24791 | 17.0521 | 0.5545 | 0.11347 | 1.7201 | 0 | 0 | 0.17388 | 0 | 0 | 0.15416 | 17.2063 | 18.0087
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034534 | 0.97507 | 0.15316 | 0.69689 | 0.10704 | 0 | 4.4406 | 0.0039497 | 0.24191 | 0 | 1.0399 | 1.9975 | 0.19613 | 0.23321 | 0.044818 | 0.95474 | 0.73591 | 0.065722 | 1.1266 | 0.22689 | 17.5697 | 0.56925 | 0.1915 | 1.9248 | 0 | 0 | 0.18688 | 0 | 0 | 0.15593 | 17.7257 | 18.5218
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035725 | 1.0087 | 0.14696 | 0.72647 | 0.10304 | 0 | 4.9062 | 0.0030645 | 0.23306 | 0 | 0.99408 | 1.9367 | 0.17105 | 0.25661 | 0.038199 | 0.85748 | 0.69069 | 0.064282 | 1.0482 | 0.24823 | 18.2794 | 0.59961 | 0 | 2.003 | 0 | 0 | 0.18352 | 0 | 0 | 0.15382 | 18.4332 | 19.281
0 | 0 | 0 | 0 | 0 | 0.15 | 0.034601 | 0.97697 | 0.14059 | 0.72201 | 0.10737 | 0 | 4.7468 | 0.0023273 | 0.21767 | 0 | 0.92871 | 1.8288 | 0.08914 | 0.26235 | 0.028631 | 0.76733 | 0.63731 | 0.051949 | 0.96884 | 0.24067 | 17.6172 | 0.57915 | 0 | 1.8676 | 0 | 0 | 0.17936 | 0 | 0 | 0.15427 | 17.7714 | 18.5913
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036071 | 1.0185 | 0.1653 | 0.79598 | 0.12206 | 0 | 5.1933 | 0.0038584 | 0.19644 | 0 | 0.96611 | 2.1732 | 0.20051 | 0.29446 | 0.04471 | 0.78062 | 0.54457 | 0.049523 | 0.91886 | 0.23299 | 17.8226 | 0.5708 | 0.1142 | 1.7607 | 0 | 0 | 0.17232 | 0 | 0 | 0.16969 | 17.9923 | 18.7961
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035991 | 1.0162 | 0.15823 | 0.78092 | 0.11845 | 0 | 5.0616 | 0.0032366 | 0.21013 | 0 | 0.93968 | 1.933 | 0.18221 | 0.29379 | 0.023667 | 0.7731 | 0.6288 | 0.052306 | 0.95027 | 0.25209 | 17.9881 | 0.57425 | 0 | 1.7841 | 0 | 0 | 0.17249 | 0 | 0 | 0.16502 | 18.1531 | 18.9795
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035534 | 1.0033 | 0.13701 | 0.70671 | 0.096013 | 0 | 4.5277 | 0.0032324 | 0.22215 | 0 | 0.91989 | 1.9486 | 0.10134 | 0.29745 | 0.029381 | 0.8419 | 0.70279 | 0.065347 | 0.98131 | 0.24742 | 17.144 | 0.60664 | 0 | 1.7192 | 0 | 0 | 0.18042 | 0 | 0 | 0.15116 | 17.2951 | 18.1492
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036018 | 1.017 | 0.14518 | 0.75086 | 0.092842 | 0 | 4.7151 | 0.0034045 | 0.21284 | 0 | 0.95316 | 1.8715 | 0.18811 | 0.3332 | 0.035433 | 0.80036 | 0.66661 | 0.064295 | 0.96911 | 0.27524 | 17.7904 | 0.63727 | 0 | 1.8585 | 0 | 0 | 0.16026 | 0 | 0 | 0.16344 | 17.9538 | 18.8663
0 | 0 | 0 | 0 | 0 | 0.15 | 0.036832 | 1.04 | 0.14268 | 0.71003 | 0.11705 | 0 | 4.4449 | 0.0033886 | 0.21396 | 0 | 0.97526 | 1.7732 | 0.18527 | 0.26773 | 0.036628 | 0.79179 | 0.72399 | 0.066372 | 0.97818 | 0.25066 | 16.9525 | 0.67249 | 0 | 1.7387 | 0 | 0 | 0.17592 | 0 | 0 | 0.15917 | 17.1117 | 18.0348
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035269 | 0.99584 | 0.13918 | 0.68697 | 0.097489 | 0 | 4.4634 | 0.0035689 | 0.22645 | 0 | 0.88957 | 1.897 | 0.18833 | 0.27821 | 0.031685 | 0.83867 | 0.72109 | 0.065403 | 0.97477 | 0.23572 | 17.1514 | 0.70368 | 0 | 1.8481 | 0 | 0 | 0.17935 | 0 | 0 | 0.15537 | 17.3068 | 18.2462
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035642 | 1.0064 | 0.15729 | 0.72342 | 0.081274 | 0 | 4.3877 | 0 | 0.25996 | 0 | 0.8896 | 1.7595 | 0.17783 | 0.32852 | 0.04033 | 0.8007 | 0.87845 | 0.083751 | 0.97493 | 0.24335 | 17.3457 | 0.68926 | 0 | 1.8122 | 0 | 0 | 0.18678 | 0 | 0 | 0.15077 | 17.4965 | 18.4291
0 | 0 | 0 | 0 | 0 | 0.15 | 0.035192 | 0.99365 | 0.13468 | 0.70605 | 0.08847 | 0 | 4.6189 | 0.0046194 | 0.22683 | 0 | 0.94682 | 1.9823 | 0.055249 | 0.20567 | 0.030332 | 0.85712 | 0.68915 | 0.06583 | 1.0012 | 0.28721 | 17.1446 | 0.69358 | 0 | 1.751 | 0 | 0 | 0.17092 | 0 | 0 | 0.17359 | 17.3182 | 18.299
0 | 0 | 0 | 0 | 0 | 0.15 | 0.037148 | 1.0489 | 0.1441 | 0.77335 | 0.12935 | 0 | 4.9133 | 0.0021244 | 0.22702 | 0 | 1.0342 | 0 | 2.5177 | 0.25254 | 0.032575 | 0.8319 | 0.70443 | 0.07685 | 0.98147 | 0.27763 | 17.8792 | 0.75404 | 0 | 1.8037 | 0 | 0 | 0.17783 | 0 | 0 | 0.16893 | 18.0481 | 19.0798
0 | 0 | 0 | 0 | 0 | 0.15 | 0.038786 | 1.0951 | 0.15954 | 0.77635 | 0.10042 | 0 | 4.5006 | 0.0025628 | 0.21224 | 0 | 0.92176 | 0 | 2.2844 | 0.2045 | 0.029329 | 0.77373 | 0.68277 | 0.080758 | 0.93537 | 0.28728 | 16.3605 | 0.72089 | 0 | 1.6855 | 0 | 0 | 0.17987 | 0 | 0 | 0.17869 | 16.5392 | 17.5473
0 | 0 | 0 | 0 | 0 | 0.15 | 0.042192 | 1.1913 | 0.16104 | 0.80294 | 0.093669 | 0 | 4.292 | 0.0042443 | 0.18203 | 0 | 0.026111 | 0 | 2.3251 | 0.19666 | 0.032563 | 0.74743 | 0.68654 | 0.080395 | 0.93001 | 0.24993 | 16.1277 | 0.7336 | 0 | 1.6474 | 0 | 0 | 0.1748 | 0 | 0 | 0.20114 | 16.3288 | 17.3123
Note on L9: (peak area * coeff / inject volume) * (extract volume/ sample volume) = ug/liter
Note on H13: Jay Pinckney: >1 = Dilution (higher acetone volume added or lower volume of carotenal added) <1 = Evaporation (lower acetone volume added or higher volume of carotenal added)
Note on I13: Chlorophyll c3
Note on J13: Chlorophyll c1c2
Note on K13: Peridinin
Note on L13: 19' Butanoyloxyfucoxanthin
Note on M13: Fucoxanthin
Note on N13: 19' Hexanoyloxyfucoxanthin
Note on O13: 9' cis-Neoxanthin
Note on P13: Prasinoxanthin
Note on Q13: Violaxanthin
Note on R13: Diadinoxanthin
Note on S13: Antheraxanthin
Note on T13: Alloxanthin
Note on U13: Diatoxanthin
Note on W13: Zeaxanthin
Note on X13: Gyroxanthin-diester
Note on Y13: Chlorophyll b
Note on Z13: Chlorophyll a Allomer
Note on AA13: Chlorophyll a + Divinyl Chl a
Note on AB13: Chlorophyll a'
Note on AK13: Chlorophyllide a
Note on AL13: Chl a + Divinyl Chl a + Chlide a
Note on AM13: Total Chl a + Chl a isomers

## Detection Limits
Effective Limits of Detection and Quantification
|  | LODeff | Effective Limit of Detection
|  | LOQeff | Effective Limit of Quantification
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
Sample
| Number | Chl c3 |  | Perid |  | 19'ButFuc |  | Fuco |  | 19'HexFuc |  | Neo |  | Viola |  | Diad |  | Allox |  | Diat |  | Lutein |  | Zeax |  | Gyro |  | Chl b |  | Chl a
|  | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff
| 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!